## Guide to System Center Management Pack for Microsoft Azure Stack Hub

Microsoft Corporation

Published: January 2023

If you have an idea or suggestion about this management pack, the Operations Manager team encourages you to share it at the SCOM Feedback site.

Copyright

This document is provided "as-is". Information and views expressed in this document, including URL and other Internet website references, may change without notice. You bear the risk of using it.

Some examples depicted herein are provided for illustration only and are fictitious.  No real association or connection is intended or should be inferred.

This document does not provide you with any legal rights to any intellectual property in any Microsoft product. You may copy and use this document for your internal, reference purposes. You may modify this document for your internal, reference purposes.

©2023 Microsoft Corporation. All rights reserved.

Microsoft, Active Directory, Windows, and Windows Server are trademarks of the Microsoft group of companies.

All other trademarks are the property of their respective owners.

## Contents

Guide to System Center Management Pack for Microsoft Azure Stack Hub	1

Contents	3

Changes History	7

Supported Configurations	10

System Center Operations Manager versions	10

Work with Gateway Server	10

Upgrade	11

List of supported APIs by the Management pack	13

Management Pack Scope	13

Prerequisites	14

Files in this Management Pack	15

Management Pack Purpose	15

Mandatory Configuration	15

Add Azure Stack Hub Deployment	15

Edit Azure Stack Hub Deployment	26

Authentication	38

Auto-Created SPN AAD deployment	38

Create SPN Manually for AAD Deployment	40

Create SPN for AD FS deployment	43

Create Run As account in the Operations Manager manually	44

Run As account and Run As Profile association	46

View the Information in the Operations Manager Console	47

Microsoft Azure Stack Hub Views	47

Backup Dashboard	48

Capacity Dashboard	48

Deployments Dashboard	51

Health Dashboard	52

Infrastructure Role Dashboard	53

Marketplace Management Dashboard	54

Operations view	55

Regions Dashboard	57

Scale Unit Dashboard	57

Update Status Dashboard	58

Resource Providers	59

Storage	62

Storage Performance Dashboards	63

The Operations Manager Maintenance Mode	66

Auto Maintenance Mode	67

Region in Maintenance Mode	67

Scale Unit Node in Maintenance Mode	68

Storage Performance Metric Rules	69

Storage Metric Time Grain	69

App Service Role Available Workers Rule	71

Alert on available workers rule	71

Update Run State Monitor	73

Health of update run	73

Tasks	74

Set Alert Filtering Task	74

Set Additional Information Task	75

Force Refresh Tasks	75

Open Azure Admin Portal Task	77

Connect to Azure Stack Hub PEP Task	77

Auto Maintenance Mode Tasks	77

Remaining subscription reads monitoring	79

Security Configuration	80

Role-Based Access Control Configuration	80

Extended Logging	80

Worker Task Limit	81

Links	82

System Center 2012 R2 - Operations Manager	82

System Center 2016 - Operations Manager	82

Appendix: Known Issues	83

Appendix: Management Pack Contents	87

Rules (alerting)	87

Microsoft Azure Stack Hub App Service Role	87

Microsoft Azure Stack Hub App Service Role Instance	89

Microsoft Azure Stack Hub Backup	90

Microsoft Azure Stack Hub Deployment	91

Microsoft Azure Stack Hub Infrastructure Role	95

Microsoft Azure Stack Hub Infrastructure Role Instance	97

Microsoft Azure Stack Hub Marketplace Management	99

Microsoft Azure Stack Hub Region	99

Microsoft Azure Stack Hub Resource Provider	120

Microsoft Azure Stack Hub Scale Unit	121

Microsoft Azure Stack Hub Scale Unit Node	123

Microsoft Azure Stack Hub Volume	125

Microsoft Azure Stack Hub Drive	127

Microsoft Azure Stack Hub Update	128

Microsoft Azure Stack Hub Update Run	130

This Guide is based on version 1.0.9.0 of the Management Pack for Microsoft Azure Stack Hub.

### Changes History

| Release Date | Changes |
| --- | --- |
| March 2023 (Version 1.0.9.0) | - Included GPU data in performance and Scale unit Node Dashboard - SCOM 2022 compatibility tested - Pending Updates Monitor - Fixed ADFS issue for SCOM2022 - Some performance improvements - Custom Worker Tiers issue fixed |
| January 2022 (version 1.0.8.0) | - Added support for Capacity – GPU-related performance metrics collection - Fixed performance data collection in case of new metrics appearance - Task “Connect to Azure Stack Hub PEP” warning messages in case of unavailability - Excluded network/authentication issues for HRP availability alert generation flow - Updated Auto SPN creating feature after changes in Azure AD |
| June 2020 (version 1.0.6.0) | - Rearranged Views and Dashboards by services assignment in the Azure Stack Hub administrator portal - Implemented Storage Dashboard to monitor state of Drives and Volumes - Implemented Operations View for exclusive admin operations - Added support for a Gateway Server - Implemented Task “Connect to Azure Stack Hub PEP” - Implemented “Add Scale Unit Node” and “Repair Scale Unit Node” Tasks - Implemented “Set Alert Filtering” Task to exclude alerts that are active on the administrator portal - Removed “Restart Infrastructure Role Instance” Task - Added new properties for the region dashboards: DNS, NTP, PEP IP addresses - Updated Scale Unit Dashboard with BMC IP address - Replaced “Region Connectivity Monitor” with “HRP Connectivity Monitor” to indicate availability of the health resource provider (HRP) - Changed query for “Deployment Connectivity Monitor” - Changed Time Grain for Storage Performance Dashboard rules to 30 minutes - Added support for forwarding protocols types with version above TLS 1.2 |
| March 2020 (version 1.0.5.10) | - Added support for a new version of the Backups API (new supported version is 2018-09-01) - Added support for a new version of the Storage Performance API (new supported version is 2018-01-01) - Implemented Page Blob Storage Performance Dashboard - Added support for TLS 1.2 |
| November 2019 (version 1.0.5.5) | - Rebranded “Azure Stack” management pack to “Azure Stack Hub” management pack - Fixed raising alerts on failed Update Runs for Installed Updates - Added more informational columns for Update Status Dashboard - Removed “File Server” from list of App Service roles - Added “Status” column for App Service Role Instances in App Service Dashboard - Added “Status” column for Backup Dashboard |
| April 2019 (version 1.0.4.0) | - Implemented the App Service Roles and the Role Instances monitoring, management, and the dashboard - Added Restart Infrastructure Role Task - Implemented the Backup dashboard - Implemented the Marketplace Management dashboard - Alert on Failed Update Run now will only show up for latest update |
| February 2019 (version 1.0.3.11) | - Removed Stop Infrastructure Role Instance Task - Removed Shutdown Infrastructure Role Instance Task - Increased interval second value for Update Run State Monitor and Update State Monitor - Increased interval of re-discovering of Update Runs |
| December 2018 (version 1.0.3.7) | - Changed the processing of service names in monitors and tasks |
| April 2018 (version 1.0.3.0) | - Implemented “Auto-Created SPN” and “Manual SPN” for AAD environments that allows support multi-factor authentication. - Implemented the Storage Performance metrics collection and the dashboard. - Implemented the Resource Provider monitoring and the dashboard. - Implemented the Update monitoring, management, and the dashboard. - Implemented the Scale Unit and the Unit Node monitoring, management, and the dashboard. - Implemented the Infrastructure Roles and the Role Instances monitoring, management, and the dashboard. - Implemented the “Auto Maintenance Mode Monitoring Rule for Scale Unit Node” that allows enable maintenance mode for the node in the Operations Manager when node is in maintenance state. - Implemented “Remaining Subscription Reads Monitor” that checks the number of the remaining subscription reads to the Azure Stack API. - Added information about the last update to the Regions. |
| July 2017 (version 1.0.2.3) | - Implemented the “Edit Deployment” wizard. - Improved the authentication by means of Azure Active Directory (UPN authentication) and Active Directory Federation Services (UPN and AD FS SPN authentication). - Implemented UI improvements in the “Add Deployment” wizard. - Implemented the Capacity Dashboard. - Implemented the “Auto Maintenance Mode Monitoring Rule” that checks if any updates are run on Azure Stack regions and switches regions that are being updated to maintenance mode in the Operations Manager. Implemented the “Turn Off Auto Maintenance Mode” and the “Turn On Auto Maintenance Mode” tasks to manually disable and enable the Auto Maintenance Mode. - Implemented improvements to reflect changes in the API. - Updated the display strings. - Added a workaround to support Alert names and descriptions to be displayed in the Operations Manager Reports as a plain text. |
| April 2017 (version 1.0.1.0) | The Technical Preview release of this management pack. |

## Supported Configurations

### System Center Operations Manager versions

This management pack requires System Center 2012 R2 Operations Manager, System Center 2016 Operations Manager, System Center 2019 Operations Manager, Gateway Server.

A dedicated Operations Manager management group is not required.

### Work with Gateway Server

#### Requirements

The following requirements should be met for the management pack to support monitoring through the Gateway Server :

- Four OpsMgr SDK libraries must be copied to a Gateway Server machine.

List of required libraries:

  - Microsoft.Enterprise.Management.Common.dll

  - Microsoft.Enterprise.Management.Core.dll

  - Microsoft.Enterprise.Management.OperationsManager.dll

  - Microsoft.Enterprise.Management.Runtime.dll

Libraries can be copied from folder on a management server: 
      C:\Program Files\Microsoft System Center <version>\Operations Manager\Server\SDK Binaries  
to folder on a Gateway Server: 
        C:\Program Files\System Center Operations Manager\Gateway

- DNS resolution is required for a Gateway to communicate to SCOM server.

- Action account under which Azure Stack Hub MP workflows are running on a Gateway Server must have read and write permissions to connect to the Management Server

- In Operations Manager Administration> Management servers> Gateway server properties check “Allow this server act as a proxy” checkbox.

- The same SSL certificate that was provided for the Azure Stack Hub deployment must be installed to the Trusted Root Certificate Authority Store on the Gateway Server.

#### How add Gateway Server for management pack monitoring

Gateway Server should be added to Operations Manager Resource Pool and assigned for monitoring in the management pack Wizard.  Below you can see quick guidance:

- In SCOM Console go to Administration>Resource Pools>Create Resource Pool in Task Pane and add a Gateway Server to it.

- In SCOM Console Administration>Microsoft Azure Stack  Hub node>Edit Deployment on a selected deployment. In the Resource Pool tab select pool that contains a Gateway Server.

### Upgrade

Management pack supports upgrade from version 1.0.5.10, 1.0.6.0. It is recommended to clear SCOM cache and restart console after upgrade to make sure that you have the latest changes.

#### Known issues related to upgrade:

##### “The dashboard view has been deleted or no longer exists” message on App Service and Backup Dashboards.

Resolution: A lot of new objects discovered and data sources need to be reinitialized for data to be displayed on dashboards for the first time. Restart Operations Manager Console after upgrade. Dashboard view will be populated with discovered data.

##### No data is displayed on App Service Dashboard.

Resolution: In order to display monitoring data on App Service Dashboard, additional Resource Provider should be added to the Azure Stack Hub deployment. In the Operations Manager Edit Deployment Wizard select “Additional Resource Providers” checkbox. For this go to Administration tab > Microsoft Azure Stack Hub node.

### List of supported APIs by the Management pack

| Service name | API version |
| --- | --- |
| Most of the services | 2016-05-01 |
| Deployment Connectivity | 2015-01-01 |
| Storage Performance | 2018-01-01 |
| Resource Groups | 2017-05-10 |
| Marketplace management | 2016-01-01 |
| Metadata | 2015-01-01 |
| Backup | 2018-09-01 |
| Storage subsystem | 2018-10-01 |
| Drives and volumes | 2019-05-01 |

## Management Pack Scope

The Management Pack for Microsoft Azure Stack Hub is designed to monitor the availability and health state of the Azure Stack Hub deployments, regions, resource providers, updates, update runs, scale units, unit nodes, volumes, drives, infrastructure roles, backup states, app service roles and their instances (logical entities comprised of the hardware resources).

The Management Pack collects and displays actual capacity metrics for the Azure Stack Hub deployment such as physical storage, physical memory and public IP pools usage and actual storage performance metrics for blob, table and queue services.

The Management Pack runs on a selected server pool and uses Azure Stack Hub REST APIs to remotely discover and collect information about the specified Azure Stack Hub deployment.

- Important: Concurrent monitoring of multiple regions has not been tested.

## Prerequisites

Before running this management pack, you must manually ensure that the following prerequisites are met:

- You must have version 2002 of the Azure Stack Hub installed.

- You must have an Operations Manager 2012 R2 or later environment installed external to Azure Stack Hub.

- For deployments using Azure Active Directory, the management server requires communication with Microsoft Azure. In this case, the workstation with the Operations Manager console that will be used to configure Azure Stack Hub monitoring must have a connection to the Internet during the initial configuration process.

- The management pack is supported to monitor up to 15 deployments and up to 15 regions per deployment.

- All management servers in your management server pool and the workstation with the Operations Manager console must have .NET framework 4.5 or later installed.

- The same SSL certificate must be installed in the Trusted Root Certificate Authority Store on the management server or a gateway server, that was provided for the Azure Stack Hub deployment of Azure Resource Manager.

- If an AD FS Service Principal Name (SPN) is used for authentication, the corresponding certificate created along with the SPN must be installed on the computer where the management pack is used. For more details, see the Create and Configure AD FS SPN section.

- In order to create a Service Principal Name via PowerShell, you must install PowerShell modules for Azure Stack Hub; download Azure Stack Hub tools from GitHub repository and configure an environment based on the Azure Stack Hub online tutorial.

- A user that creates SPN application on the Azure portal must have Owner permissions to the subscription on the Azure Stack Hub administrator portal.

- The Azure Stack Hub Service Administrator account credentials or other user credentials that have Owner or Contributor rights to the Default Provider Subscription are required by this management pack.

For more information, visit the Azure Stack Hub deployment prerequisites page.

## Files in this Management Pack

The Management Pack for Microsoft Azure Stack Hub includes the following files:

- Microsoft System Center Management Pack for Microsoft Azure Stack Hub.msi

- Microsoft Azure Stack Hub Management Pack Guide.docx

## Management Pack Purpose

For details on the discoveries, rules, monitors, tasks, and views contained in this management pack, see Appendix: Management Pack Contents.

## Mandatory Configuration

This section explains how to configure the Management Pack for Microsoft Azure Stack Hub to discover and monitor your deployments. The management pack does not discover or monitor Azure Stack Hub on import. To monitor Azure Stack Hub deployments, you must add deployments that you want to monitor. Adding a deployment via the “Add Deployment” wizard is described in the section below.

### Add Azure Stack Hub Deployment

To configure monitoring of your Azure Stack Hub deployments, you must run the corresponding “Add Deployment” wizard. This procedure assumes that you have already imported the Management Pack for Microsoft Azure Stack Hub into the Operations Manager. Then, perform the following steps.

In the Operations Manager console, open the Administration workspace, and then click the Microsoft Azure Stack Hub node:

To start the wizard, click Add deployment in the Microsoft Azure Stack Hub Overview window:

In the Connection Configuration window of the wizard, specify the following:

  - The endpoint URL of the Resource Manager API (https://adminmanagement.local.azurestack.external for the development kit environment).

  - Any region of your Azure Stack Hub deployment.

#### Configure Additional Resource Providers

Enable checkbox Configure Additional Resource Providers to monitor and manage App Service Roles and Role Instances from SCOM.

Click the Next button to configure App Service Resource Providers. In this window, perform the following:

  - In the API Version text field, type the desired value (API Version by default: 2016-08-01)

  - You can override App Service Endpoint URL by clicking on the checkbox (App Service Endpoint URL is the same as Endpoint URL by default)

#### Account configuration

In the Account window, select whether to use Service Principal or User Principal for authentication.

Microsoft Azure Stack Hub Management Pack supports two authentication scenarios using User Principal Name (UPN) and Service Principal Name (SPN). UPN is simpler to configure, but it does not work when multi-factor authentication is enforced.

On the other hand, SPN works in any environment and allows assigning permissions in a more flexible way. Using a Service Principal allows the Management Pack to be used in environments with multi-factor authentication.

#### SPN Modes:

If you select the Service Principal option, you must decide whether you are going to use AAD (Azure Active Directory) mode, or Azure AD FS (Active Directory Federation Services) mode.

##### Auto-Created SPN AAD Mode

The wizard provides a possibility to create an AAD Service Principal Name in automatic mode. Therefore, you may select AAD – Use auto-created SPN mode and create a new SPN:

The Microsoft Azure sign-in window will be displayed by clicking the Next button:

In this window, sign in to your Microsoft account, which has Owner permissions to the default Provider subscription on the Azure Stack Hub administrator portal.

- Important: Home directory (tenant) for Microsoft account and home directory (tenant) for Azure Stack Hub system must be the same. Working with different home directories is not supported.

Upon a successful sign in, an application is created in Azure Active Directory, and the Service Principal information will be displayed in the Service Principal Information window:

- Important: It is strongly recommended to save the SPN information data presented in this window for further usage!

Click the Next button to continue to the Server Pool window. In this window, perform the following:

  - In the Available pools list, select a management pool where the deployment object must be created.

  - Click the Add Deployment button to start the deployment creation process. Note that creation of a deployment may take some time.

- Important: Adding a deployment may fail with a "Could not establish trust relationship" error because of an SSL certificate validation failure (the Certificate Root Authority that issued the certificate is not trusted by the server). In this case, ask your system administrator to obtain a valid SSL certificate. In some cases, restarting the Operations Manager console, reboot machine or clear Operations Manager cache might help. Also, please check if all Infrastructure role instances are up and running.

Upon successful completion of the wizard, the associated Run As account will be created in the Accounts section of the Operations Manager.

Click the Finish button to close the wizard.

##### Manual SPN AAD Mode

If you select AAD – Enter SPN manually mode, you must enter your SPN Tenant ID, Application ID, and Secret Key:

Note: if you do not have an SPN or you do not know where to find your SPN Application ID, Tenant ID, Secret Key or Certificate Thumbprint, please review the Authentication section of this guide.

When the Next button is clicked, the wizard validates the entered data and obtains an authentication token.

If the validation succeeds, the last wizard steps will be similar to Auto-Created SPN AAD Mode configuration.

##### SPN AD FS Mode

If you select AD FS mode, you must enter your SPN Application ID and Certificate Thumbprint:

#### UPN Mode

If you select User Principal option, you must enter credentials for the Azure Stack Hub Service Administrator account or an account that has Owner or Contributor rights to the Default Provider Subscription (username and password).

Note: UPN authentication in the management pack is applicable for Azure Active Directory (AAD) environments only.

The last wizard steps will be similar to Manual SPN AAD Mode configuration.

### Edit Azure Stack Hub Deployment

Edit Deployment option allows to change account and resource pool to communicate with Azure Stack Hub API.  Monitoring account can be changed to account with same authentication type (for example, from UPN mode to UPN mode) or to account with different authentication type if it is supported by configuration (for example, from UPN mode to SPN mode).

To edit monitoring settings your Azure Stack Hub deployments, you must run the corresponding Edit Deployment wizard.  To do so, perform the following steps:

In the Operations Manager console, open the Administration workspace, and then click the Microsoft Azure Stack Hub node.

In the Microsoft Azure Stack Hub Overview window, select the deployment you want to edit and click Edit deployment.

#### Edit Resource Pool

You can change the resource pool of the deployment by selecting the Resource Pool tab:

Note: The Management Server pool can also be changed in the Run As Account properties (in the Distribution tab).

#### Edit App Service Resource Provider configuration

You can enable checkbox Additional Resource Provider to monitor App Service Roles. To change App Service Resource Providers settings, click the tab App Service RP configuration.

To edit the account properties, select the Account tab, check the “Edit account” box and click the Next button.

#### Edit SPN mode

##### Edit Auto-Created SPN AAD Mode

By means of AAD – Use auto-created SPN mode, the management pack searches for an application in Azure Active Directory on the Azure portal or creates one if such application does not exist.  Then, it obtains Application Id and Secret Key for authentication and grants the application Contributor permissions to the subscription on the Azure Stack Hub administrator portal in automatic mode.

If the selected deployment is using the SPN authentication option, the Edit Deployment window is displayed as follows:

Click Edit account checkbox to make changes.

After clicking the Edit Deployment button, the introduced changes will be saved and an associated Run As account will be created in the Accounts section of the Operations Manager.

- Important: When an auto-created SPN is removed, its associated Run As account will not be removed in the Operations Manager; it is necessary to remove the Run As account manually. For more information, please refer to the Auto-Created SPN for AAD section.

In the next window of the wizard, you can edit your credentials.

##### Edit Manual SPN AAD Mode

To create an AAD SPN deployment manually, you will need your existing SPN Tenant Id, Application Id, and Secret Key.  For more information, please see the Create SPN Manually  section.

Note: If the Run As account of the manually-created SPN is removed via the Operations Manager, its application still remains on the Azure portal and is to be removed manually.

##### Edit SPN AD FS Mode

If the selected deployment is using SPN AD FS authentication option, the following window will be displayed:

Click Edit account checkbox to make changes. In AD FS SPN Mode credentials are presented by Application Id (as a Name) and Certificate Thumbprint (as a Password).

After clicking the Edit Deployment button, the introduced changes will be saved and the associated Run As account will be created in the Accounts section of the Operations Manager.

Note: The changes you make in this window will not affect the data stored in Active Directory.

#### Edit UPN mode

If the selected deployment is using UPN authentication option, the following window will be displayed:

Click Edit account checkbox to make changes.

Select the User Principal (Not supported for AD FS) option and click the Edit Deployment button. At that, the Account Configuration window will be opened:

Note: The changes you make in this window will not affect the data stored in Active Directory.

Click the Next button to continue to the Account Verification window:

Upon successful account verification, click the Edit Deployment button to apply the changes. Then, click the Finish button to exit the wizard:

Note:  You can also edit credentials of your deployments in the Run As Account properties in Operations Manager Administration pane.

## Authentication

In this section, you can find guidance on how to create a Service Principal for Azure Active Directory or for Active Directory Federation Services deployments.

### Auto-Created SPN AAD deployment

With Auto-Created SPN option, the management pack automatically creates an application on the Azure portal and then registers this application on the Azure Stack Hub administrator portal with the Contributor role.

When the application is created, you can find it on the Azure Stack Hub administrator portal.

To do this, perform the following steps:

- Go to the Subscriptions section of the Azure Stack Hub administrator portal.

- Select the particular subscription and choose the Access Control (IAM) option.

- Search the application by name.

A new auto-created application will have the following format:

Azure Stack SCOM_{SCOMManagementGroupID_UserID}

where:

SCOMManagementGroupID – ID of the SCOM management group where the management pack is installed;

UserID – ID of the user account on the Azure portal that was used to create Service Principal in automatic mode.

When the application is created, the associated Run As account is created in the Operations Manager.
An Auto-Created SPN Run As account has the following format:

Azure Stack Run As Account credentials_AAD_SPN_Auto_{ApplicationID}

where:

ApplicationID – ID of the application created on the Azure portal.

Important: If an auto-created SPN is no longer used (for example, the deployment is removed, the account is replaced or the management pack is uninstalled), the associated Run As account is still remaining in the Operations Manager and can be reused, as long as the corresponding application remains on the Azure Portal. If you need to entirely remove an Auto-Created SPN application, log in to the Azure portal – App registrations and remove the application manually. The Run As account can be removed in the Operations Manager Administration – Run As Configuration – Accounts pane.

Note: If a Run As account is no longer used, it will be automatically removed by the Management Pack in other authentication scenarios such as UPN, manually created SPN and ADFS SPN.

Note. Uninstallation of the MP does not remove associated Run As account.

### Create SPN Manually for AAD Deployment

A Service Principal can be created using either PowerShell cmdlets or via the Azure administrator portal.

##### Create SPN with PowerShell

In order to create SPN with PowerShell, review the corresponding article to obtain all the necessary information.

If you want to add a Service Principal Name to an Azure Stack Hub administrator subscription, the following syntax is to be used: 

New-AzureRmRoleAssignment -RoleDefinitionName Contributor -ServicePrincipalName $app.ApplicationId.Guid –Scope “/subscriptions/<subscriptionId>”

For the detailed information, see the New-AzureRmRoleAssignment article.

##### Create SPN Manually via the Azure Portal and the Azure Stack Hub Administrator Portal

Follow the steps described below to create an Azure Active Directory SPN via the Azure portal and assign a role to the application on the Azure Stack Hub administrator portal manually.

- Login to https://portal.azure.com as an administrator or user with the Owner role to the subscription on the Azure Stack Hub administrator portal.

- Go to Active Directory – App registrations and select the New application registration option.

- Create an application:

- Copy the Application ID:

- Generate the key by clicking the Save button:

- On the Azure portal, go to Help – Show diagnostics and find the Tenant ID in the json file.

- Log in to the Azure Stack Hub administrator portal. Go to Subscriptions – Access control – Add. Add the SPN to the Contributor or Owner role.

Now, when you have SPN Tenant Id, Application Id, and Secret Key, you can go to the Azure Stack Hub “Add Deployment” wizard in the Operations Manager and create SPN manually.

The associated Run As account for a manually created SPN will have the following format:

Azure Stack Run As Account credentials_AAD_SPN_{ApplicationID}

### Create SPN for AD FS deployment

To create an AD FS Service Principal Name, perform the following steps:

- Follow the instructions provided on this page to create an SPN.

- Upon completion of the SPN creation, copy and save the Application Id and Certificate Thumbprint from the output of the cmdlet.

- Open the Certificate Manager tool (Certmgr.exe) and find the created SPN certificate in the list of Current User Personal certificates. Export it to a file (together with the private key) and then import it to the Local Machine Personal certificates of the computer where the management pack is used (both Operations Manager console and Management Server). To import the certificate, double-click the corresponding certificate file and follow the wizard steps.

- Login to the Microsoft Azure Stack Hub Administrator Portal with the Owner permissions to the subscription. Add the created SPN to the Access Control list of the subscription with the Owner or Contributor role.

- Now, you can configure the management pack by means of an SPN. Enter the Application Id and Certificate Thumbprint of the SPN in the corresponding window of the Azure Stack Hub “Add Deployment” wizard.

The associated Run As account for AD FS SPN has the following format in the Operations Manager:

Azure Stack Run As Account credentials_ADFS_SPN_{ApplicationID}

### Create Run As account in the Operations Manager manually

In some cases, a Service Principal application can remain on the Azure administrator portal while its Run As account is deleted in the Operations Manager. The Azure Stack Hub wizard queries to the portal, finds the application related to this Operations Manager, but cannot authenticate.

In this case, the user can either remove the application from the Azure portal or recreate the missing Run As account for it. The below steps describe how to recreate a Run As account in the Operations Manager console.

##### Auto-created SPN Run As Account

###### Create a Run As account

- 1.	Log on to the Operations Manager console with an account that is a member of the Operations Manager Administrators role.

- In the Operations Manager console, click Administration.

- In the Administration workspace, right-click Accounts, and then click Create Run As Account.

- In the Create Run As Account Wizard, click Next in the Introduction window.

- In the General Properties window, do the following:

    - Select Basic Authentication in the Run As Account type: list.

    - Type a display name in the Display Name text box.

- Important: - For an Auto-Created SPN displayname, it is mandatory to have the following format (syntax is important): - Azure Stack Run As Account credentials_AAD_SPN_Auto_{Applicationid} - Example: Azure Stack Run As Account credentials_AAD_SPN_Auto_9532009c-65e5-4f34-80c0-1ec9c3e4dc12

    - Optionally, type a description in the Description box.

    - Click Next.

- In the Credentials window, enter a username and its password, where the Auto-Created SPN Account name has the following format: {applicationid_tenantid}; and the Password is a Secret Key for the application.

- Click Next.

- In the Distribution Security window, select the Less secure or More secure option as appropriate.

- Click Create.

- In the Run As Account Creation Progress window, click Close.

###### Re-use Auto-Created  SPN with a manually created Run As Account

1.  Go to Administration – Microsoft Azure Stack Hub node.

2. Re-run the Add Deployment Wizard and select the SPN AAD – Use auto-created SPN mode.

Auto-Created Service Principal becomes found.

3. Finish steps by assigning Management Pool to communicate with Azure Stack Hub administrator portal and close the wizard.

###### Validate that the Run As Account is Assigned Correctly

1. Go to Profiles – Microsoft Azure Stack Run As Profile AD Credentials

2. Double-click the profile and check in Run As accounts account name that was assigned to the deployment.

##### Manually created SPN Run As account

Run As account for manual SPN is created the same way as for Auto-Created SPN with Basic Authentication type. 
Displayname for manually created SPN can have any supported format allowed by Operations Manager (for example: “Azure Stack Hub manual SPN”).

##### Manually created UPN Run As account

Run As account for UPN created with Basic Authentication type. Displayname for manually created UPN can have any supported format allowed by Operations Manager (for example: “Azurestack User”). In the Distribution tab specify managed servers that will receive Run As account credentials.

### Run As account and Run As Profile association

Besides using Azure Stack “Add Deployment” wizard, Run As Account can be manually assigned to the deployment with Operations Manager Run As account.

For this go to Profiles – Microsoft Azure Stack Run As Profile AD Credentials and associate the selected Run As account with the deployment you want to monitor.

Important: Manual association of Run As Account with Run As Profile for the deployment suggested as the last option to use. Association creates dependencies that causes issue with Azure Stack Hub Management Pack uninstallation. Please see unable uninstall management pack known issue for more information.

## View the Information in the Operations Manager Console

### Microsoft Azure Stack Hub Views

The management pack introduces a comprehensive set of views. You can find them in the Microsoft Azure Stack Hub folder:

Microsoft Azure Stack Hub

Active Alerts

Backup Dashboard

Capacity Dashboard

Deployments

Health Dashboard

Infrastructure Role Dashboard

Marketplace Management Dashboard

Regions

Scale Unit Dashboard

Update Status Dashboard

Resource Providers

App Service Dashboard

Resource Provider Dashboard

Storage

Storage Dashboard

Storage Performance

Block Blob Dashboard

Page Blob Dashboard

Queue Dashboard

Table Dashboard

#### Icon Legend

Folder

Alert

State

Dashboard

### Backup Dashboard

This management pack includes a backup dashboard, which provides detailed information about Azure Stack Hub Backups. The backup dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of discovered backups

Note. Backup monitor does not generate alerts.

### Capacity Dashboard

This dashboard provides detailed dynamic information about the capacity of the Azure Stack Hub instances based on the data received via the corresponding performance rules. The capacity dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions per selected deployment

- Capacity diagrams

For each selected region, you can view dynamic diagrams regarding the following capacity readings:

- Physical memory usage

- Physical memory availability

- Physical storage usage

- Physical storage availability

- Public IP address pool usage

- Public IP address pool availability

At that, you can select only necessary readings to be displayed:

### Deployments Dashboard

### Health Dashboard

This management pack includes a health dashboard, which provides detailed information about Azure Stack Hub instances. The health dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of active Azure Stack Hub alerts

You can select and close active Azure Stack Hub alerts in the health dashboard.

### Infrastructure Role Dashboard

This management pack includes an infrastructure role dashboard, which provides detailed information about Azure Stack Hub infrastructure roles. The infrastructure role dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of discovered infrastructure roles

- List of discovered infrastructure role instances

### Marketplace Management Dashboard

This management pack includes a marketplace management dashboard, which provides detailed information about Azure Stack Hub marketplace management. The marketplace management dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- Discovered marketplace management

### Operations view

Operations view allows visualize Azure Stack Hub exclusive admin operations such as backups, repair, or updates that are running on the deployment or were running some days ago.  “True” flag indicates that operation is active at the moment while “False” means that operation completed, and ends up with Duration calculated for it.

View implemented with “Microsoft Azure Stack Hub Operation Discovery” that uses “Delete older than (days)” override to clear up records after a certain number of days.

In case operation duration time is greater than the record retention time (Delete older than(days)) in the discovery override and operation is still in True state, it’s record will not be cleared up until operation changes state to False.

#### Known issues related to Operation View:

##### Navigation to view hangs with “Loading” icon for more than 2 minutes on 1000+ records

Resolution: Go to Authoring > Discoveries> “Microsoft Azure Stack Hub Operation Discovery” and lower “Delete older than (days)” value from the default one to the number of days you want records to be listed in view.

##### Duration time wouldn’t be calculated If operation lasts longer than “Delete older than (days)” specified in Operation Discovery

Resolution: Initial record for the operation is cleared up by “Delete older than (days)” operation before operation finished.   In the “Microsoft Azure Stack Hub Operation Discovery” override follow the rule: Delete older than (days) > Most long-running operation Duration (days).

### Regions Dashboard

The management pack includes Regions dashboard, which displays list of monitored regions.

### Scale Unit Dashboard

This management pack includes a scale unit dashboard, which provides detailed information about Azure Stack Hub scale units. The scale unit dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of discovered scale units

- List of discovered scale unit nodes

### Update Status Dashboard

This management pack includes an update status dashboard, which provides detailed information about Azure Stack Hub updates. The update status dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of discovered updates

- List of discovered update runs

### Resource Providers

#### App Service Dashboard

This management pack includes an app service dashboard, which provides detailed information about Azure Stack Hub app service roles. The app service dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of discovered app service roles

- List of discovered app service role instances

Important:

In order to enable App Service Roles and role instances monitoring Additional Resource Providers must be configured for the Deployment. For this go to Administration > Microsoft Azure Stack Hub pane > Edit Deployment Wizard > check Additional Resource Providers checkbox. Make additional changes in App Service RP configuration tab if needed.

Note.  “Status” column might display not actual state of App Service Role Instance because Status value obtained by “Microsoft Azure Stack Hub App Service Discovery” that runs once in 24 hours by default. To get actual Status right away, run “Force App Service Role Refresh” task.

Note. Status column represents serverState property. ServerState values interpreted as follows: NotReady = 0, Offline=1, Installing=2, Ready=3.

#### Resource Provider Dashboard

This management pack includes a resource provider dashboard, which provides detailed information about Azure Stack Hub resource providers. The resource provider dashboard displays the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions

- List of discovered resource providers

### Storage

#### Storage Dashboard

Storage dashboard provides detailed information about states of Drives and Volumes for all Scale Units per selected Deployment.

Note. States in columns “Operational Status” or “Repair Status” might display not the actual state of the selected object (Volume or Drive). This happens because “Microsoft Azure Stack Hub Volume Discovery” and “Microsoft Azure Stack Hub Drive Discovery” runs once in 24 hours by default. To get actual states of the objects, execute “Force Drives Refresh” or “Force Volumes Refresh” tasks respectively.

### Storage Performance Dashboards

Storage Performance dashboards provide detailed dynamic information about the capacity of the Azure Stack Hub storage services based on the data received via the corresponding performance rules. The storage dashboards have a common design and display the following information by means of the Operations Manager widgets:

- List of discovered deployments

- List of discovered regions per selected deployment

- Storage capacity diagrams

Each dashboard for each selected region provides dynamic diagrams regarding the following capacity readings:

| #### Page Blob Dashboard - Server latency (PageBlobService) - Total requests (PageBlobService) - Availability (PageBlobService) | #### Block Blob Dashboard - Server latency (BlockBlobService) - Total requests (BlockBlobService) - Availability (BlockBlobService) |
| --- | --- |
| #### Queue Dashboard - Server latency (QueueService) - Total requests (QueueService) - Availability (QueueService) | #### Table Dashboard - Server latency (TableService) - Total requests (TableService) - Availability (TableService) |

At that, you can select only necessary metrics to be displayed:

## The Operations Manager Maintenance Mode

The Maintenance Mode is a feature in the Operations Manager that suspends the monitoring of an object during maintenance activities.

Maintenance mode provides a possibility to switch instances into maintenance mode manually. To do so, right-click the required instance in the Monitoring workspace of Operations Manager and select the Start Maintenance Mode option.

In the Maintenance Mode Settings window, apply the mode either to Selected objects only or Selected objects and all their contained objects. Then, specify the duration of the set maintenance mode by selecting the corresponding Duration option and entering a specific period or end time value.

For more details, see the How to suspend monitoring temporarily by using maintenance mode article.

## Auto Maintenance Mode

In order to suspend monitoring during maintenance activities maintenance mode activation was implemented in the Management Pack for the region and for the scale unit node.

### Region in Maintenance Mode

The Auto Maintenance mode monitoring rule for the region automatically checks the status of the regions in Azure Stack Hub. If a region goes into a process of an update, the region is automatically switched to maintenance mode in the Operations Manager. Therefore, this mode helps prevent multiple alerts and errors when a monitored object is taken offline for maintenance.

The interval of the status check is 10 minutes. This mode is enabled by default. It can be switched off by the Turn Off Auto Maintenance Mode Task. To switch the mode on, use the Turn On Auto Maintenance Mode Task.

Note: If a deployment is switched to maintenance mode, all the corresponding regions and their objects will be switched to maintenance mode accordingly.

Important: It is not recommended to switch deployments to maintenance mode manually in the Operations Manager if the Auto Maintenance Mode is on. The Auto Maintenance Mode is controlled by the “Microsoft Azure Stack Hub Auto Maintenance Mode Monitoring Rule” which is targeted to deployment. Maintenance mode disables workflows, and if the rule has run earlier and not yet disabled, maintenance mode for the deployment is stopped.

### Scale Unit Node in Maintenance Mode

When scale unit node is taken offline for maintenance in the Azure Stack Hub the rule “Microsoft Azure Stack Hub Auto Maintenance Mode Monitoring Rule for Scale Unit Node” activates maintenance mode for the node in the Operations Manager.

## Storage Performance Metric Rules

The Azure Stack Hub management pack provides metrics for Azure Stack Hub Storage services using the following performance rules:

- Server latency (PageBlobService)

- Total requests (PageBlobService)

- Availability (PageBlobService)

- Server latency (BlockBlobService)

- Total requests (BlockBlobService)

- Availability (BlockBlobService)

- Server latency (QueueService)

- Total requests (QueueService)

- Availability (QueueService)

- Server latency (TableService)

- Total requests (TableService)

- Availability (TableService)

### Storage Metric Time Grain

All rules get metric definitions for storage services. By default, metric values are queried according to the minimal time grain of each metric definition. The time grain specifies the aggregation period of the metric values.

For each of these rules, the time grain may be configured via the corresponding overridable parameter.

#### How to Set a Custom Time Grain

- In the Operations Manager console, open the Authoring workspace; then, find the storage service performance rule (for example, Block Blob Service Server Latency (ms)):

- In the Override Properties window, set a time grain value (use ISO 8601 duration format).

If the override value is set not in ISO 8601 duration format, greater than the rule interval value or does not exist in the metric availabilities for the resources, the minimal time grain from the metric availabilities will be applied by default.

- Important: It is strongly recommended to apply the same time grain for all storage performance rules and for each storage service (e.g. for all rules for Block Blob service). Different values of time grain for each storage service will break the cookdown mechanism in SCOM and will cause an increase of web-request count to Azure Stack Hub REST API. For more details on how the cookdown works, see the Cookdown article.

#### Troubleshooting Time Grain issues

Below are common troubleshooting Warning events that help resolve issue with Time Grain configuration in rule’s overrides:

Event with ID 4457 will appear in the Operations Manager event log in the Event Viewer if the time grain is in an incorrect format.

Event with ID 4458 will appear in the Operations Manager event log in the Event Viewer if the time grain is more than the rule interval.

Event with ID 4459 will appear in the Operations Manager event log in the Event Viewer if there is no specified time grain in the Azure Stack Hub metric definitions.

## App Service Role Available Workers Rule

The Azure Stack Hub management pack provides rule for Azure Stack Hub App Service Web Worker roles.

### Alert on available workers rule

The rule checks an available worker count property in the web worker roles. If the percent of available worker count is less than or equal to critical threshold the rule will raise a critical alert. If the percent of available worker count is less than or equal to warning threshold and more than critical threshold the rule will raise a warning alert.

#### Set warning and critical thresholds

By default critical threshold equals to 19 percent and warning threshold equals to 30 percent. The threshold may be configured via the corresponding overridable parameter.

#### How to set warning and critical thresholds

- In the Operations Manager console, open the Authoring workspace; then, find the app service role available workers rule:

- In the Override Properties window, set warning and critical thresholds (values should be from 0 to 100).

If the override values are set not from 0 to 100, the rule will work with these thresholds but it is recommended to set values from 0 to 100.

## Update Run State Monitor

The Azure Stack Hub management pack provides monitor for Azure Stack Hub Update Run.

### Health of update run

This monitor checks the state of the Update Run. By default, the monitor sends a request to Azure Stack Hub to get Update Run state. If Update changes state to “Installed”, all Update Runs will be brought to healthy state even if they were unhealthy before, and monitor won’t send the request.

## Tasks

There are several tasks that expand the possibilities of monitoring the Azure Stack Hub objects.

### Set Alert Filtering Task

This task provides a possibility to set wildcards for filtering active alerts from the Microsoft Azure Stack Hub region to exclude them in SCOM Active Alerts view.

The following wildcards are allowed: (*?).

- An asterisk (*) represents zero or more characters.

- A question mark (?) represents any one character.

- It is possible to use a full alert names for filtering.

If you want to filter two or more alert names use a semicolon (;) to separate them.

Example:

*password expiration*;*7?%*;infrastructure role instance unavailable

This pattern will exclude the following alert names in OpsMgr Alerts view:

- Pending Service account password expiration

- Pending user account password expiration

- Public IP address utilization at 70% across all pools

- Infrastructure role instance unavailable

To use this task, select the desired region and run the task from the navigation pane list. Then, click Override and enter the pattern into the Value field. When the task is completed, select Refresh to update the information presented in the Operations Manager.

### Set Additional Information Task

This task enables associating additional information with Azure Stack Hub regions. You can enter any additional text information via the override; for example, the location of the region or contacts of the person responsible for it.

To use this task, select the desired region and run the task from the navigation pane list. Then, click Override and enter the additional information into the Value field. When the task is completed, select Refresh to update the information presented in the Operations Manager.

### Force Refresh Tasks

These tasks launch an immediate forced refresh of a certain object and can skip the corresponding workflows.

To use the tasks, select the desired object and run the corresponding task from the navigation pane list.

#### Force Deployment Refresh Task

This task forces the refresh of the deployment state, all regions for the selected deployment and the list of alerts for every region in the deployment.

#### Force Region Refresh Task

This task forces the refresh of the region state, all updates, resource providers, scale units, infrastructure roles and infrastructure role instances for the selected region and the list of alerts for the selected region in the deployment.

#### Force Update Refresh Task

This task forces the refresh of the update state and all runs of the selected update.

#### Force Update Run Refresh Task

This task forces the refresh of the update run state.

#### Force Resource Provider Refresh Task

This task forces the refresh of the resource provider state.

#### Force Scale Unit Refresh Task

This task forces the refresh of the scale unit state and all nodes of the selected scale unit.

#### Force Scale Unit Node Refresh Task

This task forces the refresh of the unit node state.

#### Force Infrastructure Role Refresh Task

This task forces the refresh of the states of all infrastructure roles.

#### Force Infrastructure Role Instance Refresh Task

This task forces the refresh of the states of all infrastructure role instances.

#### Force App Service Role Refresh Task

This task forces the refresh of the states of all app service roles.

#### Force App Service Role Instance Refresh Task

This task forces the refresh of the states of all app service role instances.

#### Force Backup Refresh Task

This task forces the refresh of the states of all region backups.

#### Force Drive Refresh Task

This task provides forced refresh of the selected Drive state.

#### Force Volume Refresh Task

This task provides forced refresh of the selected Volume state.

### Open Azure Admin Portal Task

This task opens Microsoft Azure Stack Hub Administrator Portal using pre-defined default browser on the system.

### Connect to Azure Stack Hub PEP Task

This task establishes a remote PS-session to Microsoft Azure Stack Hub privileged endpoint (PEP).
Task can be ran for the selected region from Microsoft Azure Stack Hub Region Tasks pane.

The following operations performed upon Task execution:

- Check availability of the ERCS VM on the network.
Note. For several ERCS VMs, the first available ERCS endpoint will be selected skipping validation of others.

- Add ERCS VM IP Address to Trusted Hosts of the local machine.

- Windows prompts to enter low-privileged account credentials.

On a successful connection the prompt will change to [IP address or ERCS VM name]: PS>

### Auto Maintenance Mode Tasks

#### Turn Off Auto Maintenance Mode Task

This task allows disabling the Auto Maintenance mode when necessary.

To use the tasks, select the appropriate region and run the corresponding task from the navigation pane list:

#### Turn On Auto Maintenance Mode Task

This task allows enabling the Auto Maintenance mode when necessary.

To use the tasks, select the appropriate region and run the corresponding task from the navigation pane list:

Important: Tasks will not refresh the Operations Manager state of the region that appears to be in maintenance mode until Force Deployment Refresh task is run.

## Remaining subscription reads monitoring

Azure Stack Hub API imposes a limit on a number of performed subscription reads per hour. That quantity is returned by an API in a header named x-ms-ratelimit-remaining-subscription-reads. Monitoring of this quantity was implemented in a Remaining Subscription Reads monitor.

The monitor has two thresholds: Warning Threshold and Critical Threshold. When remaining subscription reads count becomes less than Warning Threshold then monitor switches to a warning state. When it becomes less than Critical Threshold then monitor switches to a critical state.

## Security Configuration

The Azure Stack Run As Account AD Credentials profile is configured automatically when you add a deployment using Wizard. You do not have to perform any additional configuration.

| Run As Profile Name | Notes |
| --- | --- |
| Azure Stack Run As Account AD Credentials | Holds the Azure Stack Hub Active Directory credentials to authenticate with Azure Stack Hub. |

## Role-Based Access Control Configuration

To perform managing actions like closing alerts, applying updates, perform actions with scale units and infrastructure roles in Azure Stack Hub via the management pack in the Operations Manager console, it is important for the account to have the Contributor or Owner permissions to the subscription.

## Extended Logging

The extended logging allows collecting additional information about work of the managed modules in the management pack.  It may be necessary for the investigation of an unexpected behavior or output of HTTP requests.

The extended logging is activated by creating the following registry value:

HKEY_LOCAL_MACHINE\SOFTWARE\Microsoft\Microsoft Azure Stack Management Pack\

Create string with name: ExtendedLogging

Set Value: On

Any other values will be interpreted as “Off”.

After activation, the Azure Stack Hub management pack will write additional information to the “Operations Manager” log in Windows Event Log with “MS Azure Stack MP Module” and the “Log Level Information” Event Source.

Note. In order to turn off extended logging, switch flag to “Off” state and restart Health Service.

- Important: Activation of the extended logging may cause growing up of the “Operations Manager” log size. It is strongly recommended to increase the size of the “Operations Manager” log before turning the extended logging on.

## Worker Task Limit

The worker task limit allows increasing the speed of processing the requests to Azure Stack Hub API.

By default, managed modules can use 6 instances of System.Threading.Tasks.Task class per MonitoringHost.exe process simultaneously.

In environments with many existing objects (more than 3 deployments, more than 50 hosted objects per deployment), the user can increase/decrease the amount of worker task instances by means of the following registry value:

HKEY_LOCAL_MACHINE\SOFTWARE\Microsoft\Microsoft Azure Stack Management Pack\

Create string with name: MaxWorkerCount

Set Value: <required_instance_count>

Note: Value for MaxWorkerCount must be greater than 0 and less than 20. Otherwise, the default value – 6 – will be applied.

After setting a new value of the MaxWorkerCount parameter, the user must restart the Health Service for applying this value in the managed modules.

- Important: It is strongly recommended to change this parameter only in cases of increasing latency of processing the HTTP requests by the Azure Stack Hub management pack or in cases of huge performance load of the SCOM server host machine by the MonitoringHost.exe process.

## Links

The following links connect you to information about common tasks that are associated with the System Center management packs:

### System Center 2012 R2 - Operations Manager

- 	Management Pack Life Cycle

- 	How to Import a Management Pack

- 	Tuning Monitoring by Using Targeting and Overrides

- 	How to Create a Run As Account

- 	How to Export a Management Pack

- 	How to Remove a Management Pack

### System Center 2016 - Operations Manager

- Operations Manager Documentation

For questions about the Operations Manager and management packs, see the System Center Operations Manager community forum.

A useful resource is the System Center Operations Manager Unleashed blog, which contains “By Example” posts for specific management packs.

For additional information about the Operations Manager, see the System Center Survival Guide.

Important: All information and content on non-Microsoft sites is provided by the owner or the users of the website. Microsoft makes no warranties, express, implied, or statutory, as to the information at this website.

## Appendix: Known Issues

Infrastructure Roles are not discovered

Issue: Infrastructure Roles and Role Instances are not displayed on Dashboard. Warning with id 12023 is thrown to OpsMgr Eventlog  with message “Could not obtain list of Instances for Infrastructure Role”, “Could not execute query”.

Resolution: Check that Roles and Instances available on Azure Stack Hub administrator portal. If roles and instances are available on portal, run “Force Deployment Refresh” task.

##### Total Requests counters for Blob, Queue and Table Storage Performance Dashboards are not the same as in Azure Stack Hub administrator portal

Issue: Management pack obtains Time Grain intervals that are coming from the Azure Stack Hub API. Default Time Grain is set to PT30M that is equal to 30 minutes. In some cases Total requests counter in the Azure Stack Hub administrator portal might differ from the default setting.

Resolution: Manually change Time Grain and Interval overrides for all 3 counters (Total Requests, Server Latency, Availability) for the specified rule: Block Blob Service Total Requests, Page Blob, Queue Service Total Requests or  Table Service Total Requests to get identical results. For example, for Time Grain that is set to 1 hour on administrator portal do the following changes in overrides: Time Grain: PT1H, Interval seconds: 3700.

##### Drained scale unit node parameters are not displayed on the initial discovery

Issue: Initial discovery of scale unit which already has a drained scale unit node results in empty values of Cores and Memory field for corresponding scale unit node.
Resolution: No resolution available.

##### Some Infrastructure roles visible in Operations Manager console are not displayed on Azure Stack Hub Administrator portal
Issue: In the Infrastructure Role Dashboard displayed more infrastructure roles than it is displayed in Azure Stack Hub administrator portal. This happens because management pack displays all discovered Infrastructure roles that returned from the Azure Stack Hub API. 
Resolution: No resolution available.

##### Common Error rule alerts are not displayed in the Azure Stack Hub Active alerts view

Issue: Alerts from the Common Error rule are not displayed in the Active alerts view of the management pack.

Resolution: Common Error rule alerts are available in Main Operation Manager Сonsole Active Alerts view.

##### Selection of a previously viewed region is not saved after switching to another deployment

Issue: In the Health Dashboard, selection for a previously viewed Region is not saved in case of switching to another deployment. Upon return to the initial deployment, the selection is randomly switched to another region.

Resolution: No resolution is available.

##### "No such host is known" exception is received when the Operations Manager console is opened by IP from a remote machine

Issue: "No such host is known" exception is received when the Operations Manager console is opened from a remote machine by IP.

Resolution: No resolution is available.

##### Alerts from the previously selected region may be displayed for the current region

Issue: When you switch from one region to another in the Operations Manager, the alerts from the previously viewed region may be displayed for the currently selected region.

Resolution: No resolution is available.

##### In some cases, invalid UPN/SPN credentials may be validated successfully

Issue: In some cases, invalid UPN/SPN credentials are validated successfully in the “Add Deployment” and “Edit Deployment” wizards because the previously entered valid credentials were cached in the Operations Manager.

Resolution: Close and reopen the Operations Manager console.  The cache will be cleared and the wizard will throw an error if invalid credentials are entered.

##### The management pack does not work for external domain users

Issue: The management pack user must belong to the exact Azure Active Directory, which was used for the Azure Stack Hub deployment.

Resolution: Use the right Azure Active Directory user account.

##### Operations Manager issue: checkboxes become selected after the capacity dashboard refreshing

Issue: When the capacity dashboard is refreshed, the checkboxes become randomly selected.

Resolution:  Apply sorting by any column.

##### Operations Manager issue: unable to uninstall the management pack after manually associating the Run As account with the Run As profile

Issue: If manually associate Run As account with Microsoft Azure Stack Run As Profile AD Credentials and attempt to delete the Azure Stack Hub management pack, it fails with a message that the Microsoft.SystemCenter.SecureReferenceOverride pack depends on the Azure Stack Hub management pack.

Resolution:  Export the Microsoft.SystemCenter.SecureReferenceOverride pack, find the section with the Azure Stack Hub management pack secure reference and manually remove it. Then, import the Microsoft.SystemCenter.SecureReferenceOverride pack again. See the SCOM R2: Not able to remove a MP when a profile is set article for detailed instructions.

##### Operations Manager issue: Temporary 1100 error in Event Viewer after upgrade 1.0.3.11 to 1.0.4.0

Issue: After upgrade to version 1.0.4.0, next errors would be appeared in Event Viewer:

Resolution: Issue is temporary and wouldn’t affect further monitoring. Ignore errors and wait until SCOM updates these workflows.

##### No registered resource provider found for location and API version for backups

Issue:  Warnings occur in OpsMgr Eventlog from AzureStack MP module with message “No registered resource provider found for location 'local' and API version <APIversion1> for type 'backupLocations/backups'. The supported api-versions are <APIversion2>. The supported locations are 'local'.”

Resolution:  Warning indicates changes in the Azure Stack Hub API. Download latest version of the management pack that supports new version of API.

##### The resource type could not be found in the namespace for API of the specified version

Issue:  Warnings occur in OpsMgr Eventlog from AzureStack MP module with id 12023 and  message “ModuleName: Microsoft.SystemCenter.AzureStack.Modules.Rules.StoragePerformanceRule. Exception Message: The resource type could not be found in the namespace 'Namespace' for api version '<APIversion>'.

Resolution:  Issue may indicate that there are no available API on AzureStack Hub environment for the particular management pack module. Ask your administrator to update the Azure Stack Hub environment with the latest API version that is supported by the management pack.

##### Could not obtain worker tiers from Azure Stack Hub

Issue:  Warnings occur in OpsMgr Eventlog from AzureStack MP module with id 12023 and  message “ModuleName: Microsoft.SystemCenter.AzureStack.Modules.Rules.AppsRoleAvailableWorkerCountRule/ Discovery.WebAppsDiscoveryDS  Error: Could not obtain worker tiers from Azure Stack Hub. Endpoint URL: https://adminmanagement.local.azurestack.external, Region: local, API Version: <APIversion>”

Resolution:  Issue may indicate that there are no App Service Resource Providers connected to the Environment. To disable Warning uncheck “Additional Resource Provider” checkbox in “Edit Deployment Wizard” under “Administration>Microsoft Azure Stack Hub” node.

No data is displayed on the Storage Performance Dashboard

Issue:  No data is displayed on the Storage Performance Dashboard

Resolution:  Issue may happen because there are not enough values collected from the Azure Stack Hub administrator portal. Check that counters are collected on the Azure Stack Hub administrator portal for the particular service.

Multiple warnings with id 12023 are thrown into OpsMgr Event log while region is in Maintenance mode at update operation

Issue:  For region that is taken to maintenance mode in SCOM during update operation on Azure Stack Hub administrator portal all workflows targeted to the region and it’s underlying objects will stop sending the requests from the management pack until update completes.

By design, deployment can not be switched to maintenance mode on update operation. Because of this workflows that are targeted to the deployment such as “operation discovery”, or “remaining subscription reads monitor” still sending queries to the Azure Stack Hub API.

Resolution:  Issue temporary and related to API unresponsiveness until region update completes. No actions required.

Multiple warnings with id 12023 and message “The attempt to retrieve PhysicalDisk/Volume from external components timeout” are thrown into OpsMgr Event log while scale unit node is in Maintenance mode

Issue:  For node that is taken to maintenance mode in SCOM all workflows targeted to the storagesubsystem such as monitors for drives and volumes will send the requests to the Azure Stack Hub API . In case API does not return list of states for drives and volumes there are warnings occur in OpsMgr log.

Resolution:  Issue temporary and related to API unresponsiveness until maintenance completes for the node. No actions required.

## Appendix: Management Pack Contents

### Rules (alerting)

Microsoft Azure Stack Hub Common Error Rule

The rule generates an alert when a common exception has been thrown.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; Yes. Priority; Defines Alert Priority.; 2. Severity; Defines Alert Severity.; 2. |  |
| --- | --- | --- |

### Microsoft Azure Stack Hub App Service Role

An App Service Role for a Microsoft Azure Stack Hub region.

#### Microsoft Azure Stack Hub App Service Role – Discoveries

Microsoft Azure Stack Hub App Service Discovery

Discovery of all Microsoft Azure Stack Hub App Service Roles and Role Instances per region.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120..

#### Microsoft Azure Stack Hub App Service Role - Unit monitors

Microsoft Azure Stack Hub App Service Role State Monitor

Microsoft Azure Stack Hub App Service Role state monitor. This monitor checks the App Service Role state.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 90..

#### Microsoft Azure Stack Hub App Service Role  - Dependency (rollup) monitors

Microsoft Azure Stack Hub App Service Role Instance Dependency Monitor

Microsoft Azure Stack Hub App Service Role availability depends on App Service Role Instance availability. Azure Stack Hub App Service Role Instance Dependency monitor disabled by default by design. Health rollup mechanism for App Service role calculated in Microsoft Azure Stack Hub App Service Role State Monitor.

#### Microsoft Azure Stack Hub App Service Role – Tasks

Force App Service Role Refresh

This task provides forced refresh of the App Service Roles state.

### Microsoft Azure Stack Hub App Service Role Instance

An App Service Role Instance for a Microsoft Azure Stack Hub region.

#### Microsoft Azure Stack Hub App Service Role Instance – Discoveries

Microsoft Azure Stack Hub App Service Discovery

Discovery of all Microsoft Azure Stack Hub App Service Roles and Role Instances per region.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120..

#### Microsoft Azure Stack Hub App Service Role Instance - Unit monitors

Microsoft Azure Stack Hub App Service Role Instance State Monitor

Microsoft Azure Stack Hub App Service Role Instance state monitor. This monitor checks the App Service Role Instance state.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120..

#### Microsoft Azure Stack Hub App Service Role Instance – Tasks

Stop App Service Role Instance

This task stops app service role instance.

Repair App Service Role Instance

This task repairs app service role instance.

Start App Service Role Instance

This task starts app service role instance.

Force App Service Role Instance Refresh

This task provides forced refresh of the App Service Role Instances state.

### Microsoft Azure Stack Hub Backup

Microsoft Azure Stack Hub Backup

#### Microsoft Azure Stack Hub Backup – Discoveries

Microsoft Azure Stack Hub Backup Discovery

Discovery of all Microsoft Azure Stack Hub Backups per region.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 14400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120..

#### Microsoft Azure Stack Hub Backup - Unit monitors

Microsoft Azure Stack Hub Backup State Monitor

Microsoft Azure Stack Hub backup state monitor. This monitor checks the Backup state.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; False. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 3600. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120..

#### Microsoft Azure Stack Hub Backup – Tasks

Force Backup Refresh

This task provides forced refresh of the backup state.

### Microsoft Azure Stack Hub Deployment

A Microsoft Azure Stack Hub deployment including logical entities comprised of the hardware resources.

#### Microsoft Azure Stack Hub Deployment – Discoveries

Microsoft Azure Stack Hub Operation Discovery

Discovery of all Microsoft Azure Stack Hub Operations for Deployment.

|  | Name; Description; Default value. Delete older than (days); Specify the number of days to store operation records in the OpsMgr database. Follow the rule: Delete older than (days) > Most long-running operation Duration (days). The value should be greater than the time of the most long-running exclusive admin operation, overwise "Duration" calculation would be cleared up in the Operations View before the operation is finished.; 90. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Deployment - Unit monitors

Microsoft Azure Stack Hub Deployment Connectivity Monitor

Microsoft Azure Stack Hub deployment connectivity monitor. This monitor checks deployment availability.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 300. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Microsoft Azure Stack Hub Remaining Subscription Reads Monitor

Microsoft Azure Stack Hub remaining subscription reads monitor. This monitor checks the remaining subscription reads.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Critical Threshold; The monitor will change the state to Critical if the value drops below this threshold.; 500. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. Warning Threshold; The monitor will change the state to Warning if the value drops below this threshold.; 2000. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Deployment - Dependency (rollup) monitors

Microsoft Azure Stack Hub Region Dependency Monitor

Microsoft Azure Stack Hub Deployment availability depends on Region availability.

#### Microsoft Azure Stack Hub Deployment - Rules (non-alerting)

Microsoft Azure Stack Hub Auto Maintenance Mode Monitoring Rule

The rule checks the update state of the regions on Azure Stack Hub portal within the configured interval. When updates are run on an Azure Stack Hub region, the region is switched to maintenance mode in SCOM.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 600. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 30. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Deployment - Tasks

Force Deployment Refresh

This task provides forced refresh of the deployment state, configuration and regions list along with forced refresh of state and list of alerts for every region in the deployment.

#### Microsoft Azure Stack Hub Deployment - Console Tasks

Open Microsoft Azure Stack Hub Portal

This task opens Microsoft Azure Stack Hub Administrator Portal.

### Microsoft Azure Stack Hub Infrastructure Role

Microsoft Azure Stack Hub infrastructure role.

#### Microsoft Azure Stack Hub Infrastructure Role - Discoveries

Microsoft Azure Stack Hub Infrastructure Discovery

Discovery of all Microsoft Azure Stack Hub infrastructure roles, infrastructure role instances and relations between them per region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 300. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Infrastructure Role - Unit monitors

Microsoft Azure Stack Hub Infrastructure Role State Monitor

Microsoft Azure Stack Hub infrastructure role state monitor. This monitor checks the status of the Infrastructure Role.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Infrastructure Role - Tasks

Force Infrastructure Role Refresh

This task provides forced refresh of the infrastructure role state and configuration.

Restart Infrastructure Role

This task only restarts the Infrastructure Role in which the Infrastructure Role Instance names contain XRP.

### Microsoft Azure Stack Hub Infrastructure Role Instance

Microsoft Azure Stack Hub infrastructure role instance.

#### Microsoft Azure Stack Hub Infrastructure Role Instance - Discoveries

Microsoft Azure Stack Hub Infrastructure Discovery

Discovery of all Microsoft Azure Stack Hub infrastructure roles, infrastructure role instances and relations between them per region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 300. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Infrastructure Role Instance - Unit monitors

Microsoft Azure Stack Hub Infrastructure Role Instance State Monitor

Microsoft Azure Stack Hub Infrastructure Role Instance State Monitor. This monitor checks the status of the Infrastructure Role Instance.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Infrastructure Role Instance - Tasks

Force Infrastructure Role Instance Refresh

This task provides forced refresh of the infrastructure role instance state and configuration.

Start Infrastructure Role Instance

This task starts infrastructure role instance.

### Microsoft Azure Stack Hub Marketplace Management

Microsoft Azure Stack Hub Marketplace Management.

#### Microsoft Azure Stack Hub Marketplace Management – Discoveries

Microsoft Azure Stack Hub Marketplace Management Discovery

Microsoft Azure Stack Hub Marketplace Management discovery.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120..

### Microsoft Azure Stack Hub Region

A separate Microsoft Azure Stack Hub instance (e.g. an instance set on some separate hardware) included in a Microsoft Azure Stack Hub deployment.

#### Microsoft Azure Stack Hub Region - Discoveries

Microsoft Azure Stack Hub Region Discovery

Discovery of all Microsoft Azure Stack Hub regions per deployment.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

Microsoft Azure Stack Hub Region Set Custom Properties

By means of this discovery, you can set custom properties for Azure Stack Hub regions via the override. This discovery contains additional properties that allow storing information about a region in the Operations Manager, such as associating additional customer details and displaying the current flag of the automatic maintenance mode state and alert exclude list.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Additional Information; Additional Information. Auto Maintenance Mode; Auto Maintenance Mode; On. Wildcards; Wildcards. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Region - Unit monitors

Microsoft Azure Stack Hub HRP Connectivity Monitor

This monitor checks the Health Resource Provider availability.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 300. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Microsoft Azure Stack Hub Region Alert Count Monitor

Microsoft Azure Stack Hub alert count monitor for the regions. Monitors the health state of the regions and checks for current alerts.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Critical Count Threshold; The monitor will change the state to Critical if the value drops below this threshold.; 1. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. Warning Threshold; The monitor will change the state to Warning if the value drops below this threshold.; 1. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Region - Dependency (rollup) monitors

Microsoft Azure Stack Hub Update Dependency Monitor

Microsoft Azure Stack Hub Region availability depends on Update availability.

Microsoft Azure Stack Hub Infrastructure Role Dependency Monitor

Microsoft Azure Stack Hub Region availability depends on Infrastructure Role availability.

Microsoft Azure Stack Hub Resource Provider Dependency Monitor

Microsoft Azure Stack Hub Region availability depends on Resource Provider availability.

Microsoft Azure Stack Hub Scale Unit Dependency Monitor

Microsoft Azure Stack Hub Region availability depends on Scale Unit availability.

Microsoft Azure Stack Hub App Service Role Dependency Monitor

Microsoft Azure Stack Hub Region availability depends on App Service Role availability.

#### Microsoft Azure Stack Hub Region - Rules (alerting)

Microsoft Azure Stack Hub App Service Role Available Workers Rule

Microsoft Azure Stack Hub App Service Role Available Workers Rule.

Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; Yes. Critical Threshold (percent); The monitor will change the state to Critical if the value drops below this threshold.; 19. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Priority; Defines Alert Priority.; 1. Severity; Defines Alert Severity.; $Data/Property[@Name='Severity']$. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. Warning Threshold; The monitor will change the state to Warning if the value drops below this threshold.; 30..

Microsoft Azure Stack Hub Alerts Sync Rule (Azure Stack Hub to Operations Manager)

Microsoft Azure Stack Hub alerts synchronization rule creates alerts related to the regions and initiates closure of the alerts closed in Azure Stack Hub.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Priority; Defines Alert Priority.; 1. Severity; Defines Alert Severity.; $Data/Property[@Name='SeverityInteger']$. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 30. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Region - Sync Rules (non-alerting)

Microsoft Azure Stack Hub Alerts Sync Rule (Operations Manager to Azure Stack Hub)

Microsoft Azure Stack Hub alerts synchronization rule initiates closure of the alerts closed in the Operations Manager.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 30. Synchronization Time; The synchronization time specified by using a 24-hour format. May be omitted.. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 30. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Region - Rules (non-alerting)

Page Blob Service Total Requests

This rule collects page blob service total requests.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Page Blob Service Availability(%)

This rule collects page blob service availability in percentage terms.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Page Blob Service Server Latency (ms)

This rule collects page blob service server latency in milliseconds.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Block Blob Service Availability (%)

This rule collects blob service availability in percentage terms.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Physical Memory Available (GB)

This rule collects the current amount of free physical memory available on the region in gigabytes.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Queue Service Availability (%)

This rule collects queue service availability in percentage terms.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Physical Storage Used (TB)

This rule collects the amount of physical storage currently used on the region in terabytes.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Physical Memory Used (GB)

This rule collects the amount of physical memory currently used on the region in gigabytes.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Table Service Total Requests

This rule collects total requests of table service.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Public IP Address Pools Used Count

This rule collects the amount of free public IP address pools currently used on the region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Physical Storage Available (TB)

This rule collects the current amount of free physical storage available on the region in terabytes.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Public IP Address Pools Available Count

This rule collects the current amount of free public IP address pools available on the region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 900. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Block Blob Service Server Latency (ms)

This rule collects blob service server latency in milliseconds.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Queue Service Total Requests

This rule collects total requests of queue service.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Block Blob Service Total Requests

This rule collects block blob service total requests.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Table Service Availability (%)

This rule collects table service availability in percentage terms.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Table Service Server Latency (ms)

This rule collects latency of table service server in milliseconds.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

Queue Service Server Latency (ms)

This rule collects latency of queue service server in milliseconds.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 1800. Time Grain; Time grain allows to specify metric value aggregation interval. Examples of time grains are: PT1M (1 min), PT1H (1 hour), P1D (1 day).; PT30M. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Region - Tasks

| Set Additional Information |  |
| --- | --- |
| This task provides a possibility to set additional information for Microsoft Azure Stack Hub region: you can enter any additional text information via the override. |  |
| Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Additional Information; Additional Information.. |
| Set Alert Filtering |  |
| This task gives a possibility to set wildcards for filtering active alerts from the Microsoft Azure Stack Hub region to exclude them in SCOM Active Alerts view. |  |
| Disable Automatic Backups |  |
| This task provides possibility to disable automatic backups. |  |
| Turn Off Auto Maintenance Mode |  |
| This task turns the Auto Maintenance Mode off. |  |
| Force Region Refresh |  |
| This task provides forced refresh of the region state, configuration and updates along with forced refresh of state for every update and every resource provider for the region. |  |
| Enable Automatic Backups |  |
| This task provides possibility to enable automatic backups. |  |
| Backup Now |  |
| This task provides possibility to make a backup. |  |
| Disable Automatic Backup This task provides possibility to disable automatic backup of the region. |  |
| Turn On Auto Maintenance Mode |  |
| This task turns the Auto Maintenance Mode on. |  |

#### Microsoft Azure Stack Hub Region - Console Tasks

Connect to Azure Stack Hub PEP

This task establishes a remote PS-session to Microsoft Azure Stack Hub privileged endpoint (PEP).

### Microsoft Azure Stack Hub Resource Provider

A resource provider of a Microsoft Azure Stack Hub region.

#### Microsoft Azure Stack Hub Resource Provider - Discoveries

Microsoft Azure Stack Hub Resource Provider Discovery

Discovery of all Microsoft Azure Stack Hub resource providers per region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Resource Provider - Unit monitors

Microsoft Azure Stack Hub Resource Provider State Monitor

Microsoft Azure Stack Hub resource provider state monitor. This monitor checks the resource provider state.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Resource Provider - Tasks

Force Resource Provider Refresh

This task provides forced refresh of the resource provider state and configuration.

### Microsoft Azure Stack Hub Scale Unit

Microsoft Azure Stack Hub scale unit.

#### Microsoft Azure Stack Hub Scale Unit - Discoveries

Microsoft Azure Stack Hub Scale Unit Discovery

Discovery of all Microsoft Azure Stack Hub scale units per region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Scale Unit - Dependency (rollup) monitors

Microsoft Azure Stack Hub Scale Unit Node Dependency Monitor

Microsoft Azure Stack Hub Scale Unit availability depends on Unit Node availability.

#### Microsoft Azure Stack Hub Scale Unit - Rules (non-alerting)

Microsoft Azure Stack Hub Auto Maintenance Mode Monitoring Rule for Scale Unit Node

The rule checks the state of the scale unit nodes on Azure Stack Hub portal within the configured interval. When it founds difference between maintenance mode on the portal and in SCOM, the maintenance mode in SCOM is switched to the state present on the portal.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; No. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 600. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Scale Unit - Tasks

Force Scale Unit Refresh

This task provides forced refresh of the scale unit state and configuration.

Add Scale Unit Node

This task adds a new scale unit node. Before you proceed with the operation ensure the new physical machine is cabled correctly and the network switch ports have been enabled.

### Microsoft Azure Stack Hub Scale Unit Node

Microsoft Azure Stack Hub scale unit node.

#### Microsoft Azure Stack Hub Scale Unit Node - Discoveries

Microsoft Azure Stack Hub Unit Node Discovery

Discovery of all Microsoft Azure Stack Hub unit nodes per scale unit.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 86400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Scale Unit Node - Unit monitors

Microsoft Azure Stack Hub Scale Unit Node State Monitor

Microsoft Azure Stack Hub scale unit node state monitor. This monitor checks the Scale Unit Node Status.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 180. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Scale Unit Node - Tasks

Drain Scale Unit Node

This task is putting a node into maintenance mode along with distributing it's workloads among remaining nodes in the particular scale unit.

Force Scale Unit Node Refresh

This task provides forced refresh of the scale unit node state and configuration.

Power Off Scale Unit Node

This task powers off the scale unit node.

Power On Scale Unit Node

This task powers on the scale unit node.

Repair Scale Unit Node

This task repairs a scale unit node.

Resume Scale Unit Node

This task allows to stop maintenance mode for the scale unit node.

Shutdown Scale Unit Node

This task allows to shut down the scale unit node.

### Microsoft Azure Stack Hub Volume

Microsoft Azure Stack Hub Volume.

#### Microsoft Azure Stack Hub Volume - Discoveries

Microsoft Azure Stack Hub Volume Discovery

Discovery of all Microsoft Azure Stack Hub Volumes per Scale Unit.

| Name | Description | Default value |
| --- | --- | --- |
| Enabled | Enables or disables the workflow. | True |
| Interval (seconds) | The recurring interval of time in seconds in which to run the workflow. | 86400 |
| Timeout (seconds) | Specifies the time the workflow is allowed to run before being closed and marked as failed. | 120 |

#### Microsoft Azure Stack Hub Volume - Unit Monitors

Microsoft Azure Stack Hub Volume State Monitor

This monitor checks the Volume state.

| Name | Description | Default value |
| --- | --- | --- |
| Enabled | Enables or disables the workflow. | True |
| Generate Alerts | Defines whether the workflow generates an Alert. | True |
| Interval (seconds) | The recurring interval of time in seconds in which to run the workflow. | 900 |
| Timeout (seconds) | Specifies the time the workflow is allowed to run before being closed and marked as failed. | 120 |

#### Microsoft Azure Stack Hub Volume - Tasks

Force Volume Refresh

This task provides forced refresh of the Volumes state.

### Microsoft Azure Stack Hub Drive

Microsoft Azure Stack Hub Drive.

#### Microsoft Azure Stack Hub Drive- Discoveries

Microsoft Azure Stack Hub Drive Discovery

Discovery of all Microsoft Azure Stack Hub Drives per Scale Unit.

| Name | Description | Default value |
| --- | --- | --- |
| Enabled | Enables or disables the workflow. | Yes |
| Interval (seconds) | The recurring interval of time in seconds in which to run the workflow. | 86400 |
| Timeout (seconds) | Specifies the time the workflow is allowed to run before being closed and marked as failed. | 120 |

#### Microsoft Azure Stack Hub Drive- Unit Monitors

Microsoft Azure Stack Hub Drive State Monitor

This monitor checks the Drive state.

| Name | Description | Default value |
| --- | --- | --- |
| Enabled | Enables or disables the workflow. | Yes |
| Generate Alerts | Defines whether the workflow generates an Alert. | False |
| Interval (seconds) | The recurring interval of time in seconds in which to run the workflow. | 900 |
| Timeout (seconds) | Specifies the time the workflow is allowed to run before being closed and marked as failed. | 120 |

#### Microsoft Azure Stack Hub Drive - Tasks

Force Drive Refresh

This task provides forced refresh of the Drives state.

### Microsoft Azure Stack Hub Update

An update for a Microsoft Azure Stack Hub region.

#### Microsoft Azure Stack Hub Update - Discoveries

Microsoft Azure Stack Hub Update Discovery

Discovery of all Microsoft Azure Stack Hub updates per region.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 14400. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Update - Unit monitors

Microsoft Azure Stack Hub Update State Monitor

Microsoft Azure Stack Hub update state monitor. This monitor checks the update state.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 3600. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Update - Tasks

Apply Update Package

This task applies update package if it is available.

Force Update Refresh

This task provides forced refresh of the update state, configuration and update runs along with forced refresh of state for every run of the update.

### Microsoft Azure Stack Hub Update Run

A run of a Microsoft Azure Stack Hub update.

#### Microsoft Azure Stack Hub Update Run - Discoveries

Microsoft Azure Stack Hub Update Run Discovery

Discovery of all Microsoft Azure Stack Hub update runs per update.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 3600. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 120. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Update Run - Unit monitors

Microsoft Azure Stack Hub Update Run State Monitor

Microsoft Azure Stack Hub update run state monitor. This monitor checks the state of the update run.

|  | Name; Description; Default value. Enabled; Enables or disables the workflow.; Yes. Generate Alerts; Defines whether the workflow generates an Alert.; True. Interval (seconds); The recurring interval of time in seconds in which to run the workflow.; 3600. Timeout (seconds); Specifies the time the workflow is allowed to run before being closed and marked as failed.; 60. |  |
| --- | --- | --- |

#### Microsoft Azure Stack Hub Update Run - Tasks

Restart Update Run

This task reruns the update run.

Force Update Run Refresh

This task provides forced refresh of the update run state and configuration.