Terminal Services Management Pack Guide for Operations Manager 2007

Microsoft Corporation

Published: June 2008

Send suggestions and comments about this document to mpgfeed@microsoft.com. Please include the Management Pack guide name with your feedback.

Copyright

Information in this document, including URL and other Internet Web site references, is subject to change without notice. Unless otherwise noted, the companies, organizations, products, domain names, e-mail addresses, logos, people, places, and events depicted in examples herein are fictitious. No association with any real company, organization, product, domain name, e-mail address, logo, person, place, or event is intended or should be inferred. Complying with all applicable copyright laws is the responsibility of the user. Without limiting the rights under copyright, no part of this document may be reproduced, stored in or introduced into a retrieval system, or transmitted in any form or by any means (electronic, mechanical, photocopying, recording, or otherwise), or for any purpose, without the express written permission of Microsoft Corporation.

Microsoft may have patents, patent applications, trademarks, copyrights, or other intellectual property rights covering subject matter in this document. Except as expressly provided in any written license agreement from Microsoft, the furnishing of this document does not give you any license to these patents, trademarks, copyrights, or other intellectual property.

© 2008 Microsoft Corporation. All rights reserved.

Microsoft, MS-DOS, Windows, Windows Server, and Active Directory are either registered trademarks or trademarks of Microsoft Corporation in the United States and/or other countries.

All other trademarks are property of their respective owners.

Revision History

| Release Date | Changes |
| --- | --- |
| April 2007 | Original release of this guide |
| July 2007 | New topics in this release: Create a New Management Pack for Customizations |
| October 2007 | New topic in this release: Monitors and Overrides for Management Packs |
| June 2008 | New topics in this release: Updated document to new management pack guide format Supported Configurations Classes Placing Monitored Objects in Maintenance Mode Appendix: Reports |

Contents

Introduction to the Terminal Services Management Pack for Operations Manager 2007	7

What's New	8

Supported Configurations	8

Getting Started	9

Before You Import the Management Pack	9

Files To Download	10

How to Import the Terminal Services Management Pack	10

Create a New Management Pack for Customizations	11

Optional Configuration	12

Turn On Rules to Collect Performance Data	12

Enable Discovery of Remote Admin	13

Enable Discovery of a Session Directory in a Cluster	14

Enable an Alert for a Failed Printer Redirection Operation	14

Security Considerations	15

Low-Privilege Environments	15

Computer Groups	15

Agentless Monitoring	15

Understanding Management Pack Operations	16

Objects the Terminal Services Management Pack Discovers	16

Classes	16

How Health Rolls Up	18

Viewing Information in the Operations Manager Console	19

Views	19

Overall	19

Health Monitoring	20

Performance	20

Reports	21

Key Monitoring Scenarios	21

Get Information About a Monitor	24

Placing Monitored Objects in Maintenance Mode	25

Troubleshooting	25

Appendix: Monitors and Overrides for Management Packs	27

How to View Management Pack Details	27

How to Display Monitors for a Management Pack	27

How to Display Overrides for a Management Pack	27

How to Display All Management Pack Rules	28

How to Display Monitor Thresholds	28

How to Display Performance Collection Rules	30

Appendix: Reports	32

Introduction to the Terminal Services Management Pack for Operations Manager 2007

The Terminal Services Management Pack helps you manage your computers running Terminal Services on Windows Server 2008, Windows Server 2003, or Windows 2000 Server by monitoring the health of the Terminal Services with the help of server role services.

Terminal servers running Windows 2000 Server use the following role services:

	Terminal Server: With the Terminal Server role service, a server can host Microsoft Windows–based programs or the full Windows desktop. Users can connect to a terminal server to run programs, to save files, and to use network resources on that server.

	TS Licensing: Terminal Services Licensing (TS Licensing) manages the Terminal Services client access licenses (TS CALs) that are required for each device or user to connect to a terminal server. You use TS Licensing to install, issue, and monitor the availability of TS CALs on a Terminal Services license server.

Windows Server 2003 adds the following role service:

	Session Directory: The Terminal Services Session Directory service tracks sessions on terminal servers running Windows Server 2003 and ensures that client computers connect to their existing sessions.

The following additional role services are used in conjunction with Windows Server 2008:

	TS Web Access: With Terminal Services Web Access (TS Web Access), users can access RemoteApp programs and a Remote Desktop connection to the terminal server through a Web site. TS Web Access also includes Remote Desktop Web Connection, with which users can remotely connect to any computer where they have Remote Desktop access.

	TS Gateway: With Terminal Services Gateway (TS Gateway), authorized remote users can connect to resources on an internal corporate network from any Internet-connected device that can run the Remote Desktop Connection (RDC) client.

	TS Session Broker: Terminal Services Session Broker (TS Session Broker) supports session load balancing between terminal servers in a farm and reconnection to an existing session in a load-balanced terminal server farm.

Note

In Windows Server 2008, the name of the Terminal Services Session Directory feature was changed to Terminal Services Session Broker (TS Session Broker).

When there is problem with the availability or performance of one of these components, Microsoft System Center Operations Manager 2007 uses the Terminal Services Management Pack to detect the issue and alert you so that you can diagnose the problem and fix it.

The management pack can help you identify issues before they disrupt your infrastructure, improving the availability and performance of the Windows-based servers that your business depends on.

Document Version

This guide was written based on the 6.0.6278.22 version of the Terminal Services Management Pack.

Getting the Latest Management Pack and Documentation

You can find the Terminal Services Management Pack in the System Center Operations Manager 2007 Catalog (http://go.microsoft.com/fwlink/?LinkId=82105).

What's New

The following features are new in this release of the Terminal Services Management Pack specific to Terminal Services in Windows Server 2008:

	TS Gateway

	TS Session Broker

	TS Web Access

Supported Configurations

In general the supported configurations do not exceed what is detailed in the following locations:

	Microsoft Support Lifecycle policy (http://go.microsoft.com/fwlink/?LinkId=26134)

	Operations Manager 2007 Supported Configurations Guide (http://go.microsoft.com/fwlink/?LinkId=90676)

As it related to this management pack, the following configurations have been tested and are supported:

	Windows 2000 Server

	Architecture: 32 bit

	Roles:

	Terminal Services (Remote Admin and Application Server mode)

	Session  Directory

	Terminal Services Licensing

	Windows Server 2003

	Architecture: 32 bit and 64 bit

	Roles:

	Terminal Services (Remote Admin and Application Server mode)

	Session Directory

	Terminal Services Licensing

	Windows Server 2008

	Architecture: 32 bit and 64 bit

	Roles:

	Terminal Services

	Terminal Server

	Terminal Services Licensing

	Terminal Services Web Access

	Terminal Services Gateway

	Terminal Services Session Broker

Getting Started

This section describes the actions you should take before you import the management pack, any steps you should take after you import the management pack, and information about customizations

Before You Import the Management Pack

For the Terminal Services Management Pack to function optimally, your computers must meet the following requirements:

	Each terminal server must be managed by Operations Manager 2007.

	Each Terminal Services license server must be managed by Operations Manager 2007.

	Each Session Directory server must be managed by Operations Manager 2007.

	Each Terminal Services Web Access server must be managed by Operations Manager 2007.

	Each Terminal Services Gateway server must be managed by Operations Manager 2007.

	Each Terminal Services Session Broker server must be managed by Operations Manager 2007.

	The Microsoft Windows Server Base Operating System Management Pack must be installed on the computer running System Center Operations Manager 2007 computer to use some of the Terminal Services Management Pack features, including most of the performance views. The Microsoft Windows Servers Base Operating System Management Pack includes five files:

1.	Microsoft.Windows.Server.Library.mp: Required for Windows Server 2008, Windows Server 2003, and Windows 2000 Server

2.	Microsoft.Windows.Server.2008.Discovery.mp: Required for Windows Server 2008

3.	Microsoft.Windows.Server.2008.Monitoring.mp: Required for Windows Server 2008

4.	Microsoft.Windows.Server.2003.mp: Required for Windows Server 2003

5.	Microsoft.Windows.Server.2000.mp: Required for Windows 2000 Server

Note

If your system includes a combination of instances of Windows Server 2008, Windows Server 2003, and Windows 2000 Server, you can import all five files together.

Files To Download

To monitor Terminal Services, you must first download the Microsoft Windows Server Terminal Services Management Pack from the Management Pack Catalog, located at http://go.microsoft.com/fwlink/?LinkId=82105. The Terminal Services Management Pack includes the following files:

| File Name | Description |
| --- | --- |
| Microsoft.Windows.Server.TerminalService.Library.mp | Required for discovering objects, monitoring objects, and viewing information on computers running Windows Server 2008, Windows Server 2003, and Windows 2000 Server. |
| Microsoft.Windows.Server.TerminalService.2008.mp | Required for monitoring computers running Windows Server 2008. |
| Microsoft.Windows.Server.TerminalService.2003.mp | Required for monitoring computers running Windows Server 2003. |
| Microsoft.Windows.Server.TerminalService.2000.mp | Required for monitoring computers running Windows 2000 Server. |

How to Import the Terminal Services Management Pack

For instructions about importing a management pack, see How to Import a Management Pack in Operations Manager 2007 (http://go.microsoft.com/fwlink/?LinkID=98348).

After the Terminal Services Management Pack is imported, follow these procedures to finish your initial configuration:

1.	Create a new management pack in which you store overrides and other customizations.

2.	In the Operations Console, on the Go menu, click Administration.

3.	In the navigation pane, expand Administration.

4.	Right-click Management Packs, click Import Management Packs, select Microsoft.Windows.Server.TerminalService.Library.mp and either Microsoft.Windows.Server.TerminalService.2008.mp, Microsoft.Windows.Server.TerminalService.2003.mp, or Microsoft.Windows.Server.TerminalService.2000.mp, and then click Open.

Note

If your system includes a combination of instances of Windows Server 2008, Windows Server 2003, and Windows 2000 Server, you can import Microsoft.Windows.Server.TerminalService.2008.mp, Microsoft.Windows.Server.TerminalService.2003.mp, and Microsoft.Windows.Server.TerminalService.2000.mp as needed.

5.	Follow the instructions in the wizard.

Create a New Management Pack for Customizations

Most vendor management packs are sealed so that you cannot change any of the original settings in the management pack file. However, you can create customizations, such as overrides or new monitoring objects, and save them to a different management pack. By default, Operations Manager 2007 saves all customizations to the default management pack. As a best practice, you should instead create a separate management pack for each sealed management pack you want to customize.

Creating a new management pack for storing overrides has the following advantages:

	It simplifies the process of exporting customizations that were created in your test and pre-production environments to your production environment. For example, instead of exporting a default management pack that contains customizations from multiple management packs, you can export just the management pack that contains customizations of a single management pack.

	It allows you to delete the original management pack without first needing to delete the default management pack. A management pack that contains customizations is dependent on the original management pack. This dependency requires you to delete the management pack with customizations before you can delete the original management pack. If all of your customizations are saved to the default management pack, you must delete the default management pack before you can delete an original management pack.

	It is easier to track and update customizations to individual management packs.

For more information about sealed and unsealed management packs, see Management Pack Formats (http://go.microsoft.com/fwlink/?LinkId=108355). For more information about management pack customizations and the default management pack, see About Management Packs in Operations Manager 2007 (http://go.microsoft.com/fwlink/?LinkId=108356).

Optional Configuration

You can configure the Terminal Services Management Pack for your environment and your preferences. For instance, if you want to receive an alert when a Terminal Server cannot print on a local printer, you can enable the rule that generates the alert.

The following table lists optional configurations for the Terminal Services Management Pack and specifies where you can find more information about each option.

| Configuration Option | Additional Information | Windows 2000 Server | Windows Server 2003 | Windows Server 2008 |
| --- | --- | --- | --- | --- |
| Change the default settings by overriding rules. | See "How to Monitor Using Overrides in Operations Manager 2007" in the System Center Operations Manager 2007 Help. | X | X | X |
| Turn on rules that collect performance data. | See Turn On Rules to Collect Performance Data. | X | X | X |
| Discover servers that run Remote Admin or Remote Desktop. | See Enable Discovery of Remote Admin. | X | X |  |
| Get an alert when a Terminal Server cannot print on a local printer. | See Enable an Alert for a Failed Printer Redirection Operation. | X | X |  |

Turn On Rules to Collect Performance Data

In the Terminal Services Management Pack, most of the rules that collect performance data are disabled by default. To collect performance data, you can use overrides to turn on the performance-measuring rules that you want.

Note

Turning on performance-measuring rules increases network traffic and might degrade performance on servers with slow WAN links.

To collect performance data

1. In the Operations Console, on the Go menu, click Authoring. 2. In the navigation pane, expand Management Pack Objects, and then click Rules. Note To show rules for the Terminal Services Management Pack only, on the toolbar, click Scope, and then under Target, select the check boxes for the Terminal Services components—for example, Terminal Server 2003 Computer Role. 3. Under Rules, right-click the performance-measuring rule that you want, point to Overrides, point to Override the Rule, and then click For all objects of type: <type of object>. 4. Under Override-controlled parameters, in the Override column, select the check box beside Enabled. 5. In the Override Setting column, in the drop-down menu, click True, and then click OK.

Enable Discovery of Remote Admin

By default, the management pack does not discover servers running Windows 2000 Server that run Remote Administration mode or computers running Remote Desktop in Windows Server 2003 or the Windows XP operating system. To discover servers that run Remote Administration mode or Remote Desktop, you must turn on the Remote Administration object discovery.

To enable discovery of Remote Admin mode

1. In the Operations Console, on the Go menu, click Authoring. 2. In the navigation pane, expand Management Pack Objects, and then click Object Discoveries. Note To show object discoveries for the Terminal Services Management Pack only, on the toolbar, click Scope, and then under Target, select the check boxes for the Terminal Services components—for example, Terminal Server 2003 Computer Role. 3. In the list under Object Discoveries, click Windows 2003 Server Terminal Server Role Remote Admin Mode Discovery or Windows 2000 Server Terminal Server Role Remote Admin Mode Discovery. 4. On the toolbar, click Overrides, point to Override the Object Discovery, and then click For a specific object of type: Windows Server. 5. Under Matching objects, click the object that you want, and then click OK. 6. Under Override-controlled parameters, in the Override column, select the check box beside Enabled. 7. In the Override Setting column, in the drop-down menu, click True, and then click OK.

Enable Discovery of a Session Directory in a Cluster

To discover a Session Directory in a cluster environment, you must enable object discovery for the virtual node that hosts the Session Directory service. Do not enable the discovery object for any physical cluster nodes or any other virtual nodes in the cluster.

To enable discovery of a Session Directory in a cluster

1. In the Operations Console, on the Go menu, click Authoring. 2. In the navigation pane, expand Management Pack Objects, and then click Object Discoveries. 3. In the list of object discoveries, right-click Microsoft Windows 2003 Terminal Services Session Directory Role Discovery in cluster environment, point to Overrides, point to Override the Object Discovery, and then click For a specific object of type: Windows Server. 4. Under Matching objects, click the virtual node that hosts the Session Directory service, and then click OK.

Enable an Alert for a Failed Printer Redirection Operation

By default, the rule that alerts you when a printer redirection operation fails is disabled. To receive an alert when a Terminal Server cannot print on a local printer, you must use an override to enable the rule.

To enable the failed printer redirection operation rule

1. In the Operations Console, on the Go menu, click Authoring. 2. In the navigation pane, expand Management Pack Objects, and then click Rules. Note To show rules only for the Terminal Services Management Pack, on the toolbar, click Scope, and then under Target, select the check boxes for the Terminal Services components—for example, Terminal Server 2003 Computer Role. 3. Under Rules, right-click Terminal Services failed printer redirection operation, point to Overrides, point to Override the Rule, and then click For all objects of type: Terminal Server 2003 Computer Role. 4. Under Override-controlled parameters, in the Override column, select the check box beside Enabled. 5. In the Override Setting column, in the drop-down menu, click True, and then click OK.

Security Considerations

You may need to customize your management pack. Certain accounts cannot be run in a low-privilege environment or must have minimum permissions.

Low-Privilege Environments

The Terminal Services Management Pack uses the agent action account to perform discovery and to run rules, tasks, and monitors. The agent action account can run as Local System or as a named account. When running as Local System, the agent action account has all the privileges needed to discover objects and to run rules, tasks, and monitors.

Important

To use the Terminal Services Management Pack in a low-privilege configuration, the action account must have the following minimum privileges on the target computer:

	Member of the local users group.

	Member of the local Performance Monitor users group.

	Granted Log On Locally rights.

Computer Groups

You can delegate authority to a precise level with user roles. For more information about user roles, see the "About User Roles in Operations Manager 2007" topic in the Operations Manager 2007 Help.

In the Terminal Services Management Pack, you can scope and authorize roles by using the Terminal Services Computer Group, a group that contains all computer systems running Terminal Services

Agentless Monitoring

You can use the Terminal Service Management Pack to monitor agentless-managed computers. To run a task on an agentless-managed computer, however, you must change the action account to an account that has access to the target computer.

Understanding Management Pack Operations

This section describes the objects that the Terminal Services Management Pack discovers, how health rolls up, key monitoring scenarios, and the console views that display monitoring and performance information.

Objects the Terminal Services Management Pack Discovers

The Terminal Services Management Pack discovers the object types described in the following list. Not all of the objects are automatically discovered. Use overrides to discover those that are not discovered automatically. For information about discovering objects, see the "Object Discoveries in Operations Manager 2007" topic in Operations Manager 2007 Help (http://go.microsoft.com/fwlink/?LinkId=108505).

The Terminal Services Management Pack discovers the following objects.

	Terminal Server in Application Server Mode

	Terminal Server in Remote Admin mode (only for Windows Server 2003 and Windows 2000 Server)

	Terminal Services Licensing Server

The following additional objects are specific to the Terminal Services Management Pack for Windows Server 2003:

	Terminal Services Session Directory

	Terminal Services Session Directory manual mode

The following additional objects are specific to the Terminal Services Management Pack for Windows Server 2008:

	Terminal Services Gateway Server

	Terminal Services Session Broker Server

	Terminal Services Web Access Server

Classes

The following table describes the classes defined in this management pack:

| Available Classes | Descccription |
| --- | --- |
| Terminal Server 2000 Computer Role | Windows 2000 Computer Systems running Terminal Server |
| Terminal Server 2003 Computer Role | Windows 2003 Computer Systems running Terminal Server |
| Terminal Server 2008 Computer Role | Windows 2008 Computer Systems running Terminal Server. Terminal Services provides technologies that enable access to a server running Windows-based programs or the full Windows desktop. Users can connect to a terminal server to run programs, save files, and use network resources on that server. |
| Terminal Services 2000 License Server Computer Role | Terminal Services Service running on Windows 2000 Server |
| Terminal Services 2003 License Server Computer Role | Terminal Services Service running on Windows Server 2003 |
| Terminal Services 2003 Session Directory Computer Role | Terminal Services Session Directory running on Windows Server 2003 |
| Terminal Services 2008 Role service | This abstract class represents a generic Terminal Services 2008 role service. This class is used as a base for other classes which are specialized to the particular role services. |
| Terminal Services 2008 Terminal Server Role service | Terminal Services 2008 Terminal Server role service. Terminal Server is a Terminal Services role service that supports sharing of Windows-based programs or the full Windows desktop. Users can connect to a terminal server to run programs, save files, and use network resources on that server. |
| Terminal Services 2008 TS Gateway Role service | Terminal Services 2008 TS Gateway role service. Terminal Services Gateway (TS Gateway) is a role service that enables authorized remote users to connect to resources on an internal corporate or private network, from any Internet-connected device that can run the Remote Desktop Connection (RDC) client. The network resources can be terminal servers, terminal servers running Terminal Services RemoteApp programs, or computers with Remote Desktop enabled. |
| Terminal Services 2008 TS Licensing Role service | Terminal Services 2008 TS Licensing role service. Terminal Services Licensing (TS Licensing) is a Terminal Services role service that manages the Terminal Services client access licenses (TS CALs) that are required for each device or user to connect to a terminal server. You use TS Licensing to install, issue, and track the availability of TS CALs on a Terminal Services license server. |
| Terminal Services 2008 TS Session Broker Role service | Terminal Services Session Broker (TS Session Broker) is a Terminal Services role service in Windows Server 2008 that supports session load balancing between terminal servers in a farm, and reconnection to an existing session in a load-balanced terminal server farm. Note TS Session Broker was formerly called Terminal Services Session Directory. |
| Terminal Services 2008 TS Web Access role service | Terminal Services 2008 TS Web Access role service. Terminal Services Web Access (TS Web Access) is a Windows Server 2008 role service that enables users to visit a Web site (either from the Internet or from the intranet) to access a list of available TS RemoteApp programs. To start a RemoteApp program, users just click the program icon. When the RemoteApp program starts, a Terminal Services session is started on the terminal server that hosts the RemoteApp program. |

How Health Rolls Up

The Terminal Services Management Pack views Terminal Services as a hierarchy. The health of each level depends on the health of the level below it. At the top level are the Terminal Server role, the Licensing Server role, and, for Windows Server 2003, the Session Directory role, each of which is monitored independently. At the lowest level are the monitors for a server's service states, events, and counters. When a number of these monitors changes state, the level above changes state to match; in other words, the health of the lower level rolls up to the level above it.

For example, the state of the Terminal Server's performance monitors—total number of active sessions, total number of inactive sessions, and total processor time per session—rolls up to the Terminal Server's overall performance state. In the meantime, the state of the Terminal Server's health monitor rolls up to the Terminal Server's overall availability state. The performance state and the availability state then roll up to set the overall state of the Terminal Server.

This Terminal Services Management Pack behaves slightly differently from the previous versions as a result of the role, role service, and features concepts introduced with Windows Server 2008. The Terminal Server 2008 Computer Role is the highest-level object in the health hierarchy and is hosted as a computer role of the computer object. Below the Terminal Server 2008 Computer Role, one or more role service classes exists depending on which of the various role services have been added to the server with the terminal services role installed. Each of these role services has its own state that is driven by various monitors, and the state of all of these role services is reflected back to the Terminal Server 2008 Computer Role.

Viewing Information in the Operations Manager Console

After you give your Terminal Services Management Pack at least an hour to gather data, you begin to see monitoring information in the Operations Console. In the console navigation pane for monitoring, the Microsoft Windows Terminal Services folder contains views that present information about the state, health, and performance of Terminal Services.

Views

The Terminal Services Management Pack includes a variety of views that you can use to check the status or performance of your components and services. The Terminal Services Management Pack provides the default views described in the tables in the following sections.

Overall

| View Name | Description |
| --- | --- |
| Active Alerts | Displays active alerts from all Terminal Services components. |
| Licensing Server State | Displays state and attributes for your Terminal Services Licensing Server systems. |
| Session Directory State | Displays state and attributes for Terminal Services Session Directory systems. |
| Terminal Server State | Displays state and attributes for Terminal Server systems. |
| Terminal Services Performance | Displays all the performance data for the associated classes. |

Health Monitoring

| View Name | Description |
| --- | --- |
| Licensing Service Health | A dashboard view that displays the state of and the alerts for the licensing service. |
| Session Directory Service Health | A dashboard view that displays the state of and the alerts for the session directory service. |
| Terminal Server Service Health | A dashboard view that displays the state of the Terminal Server role and terminal server service alerts. |

Performance

| View Name | Description |
| --- | --- |
| Disk Capacity | A dashboard view that displays free space as a percentage and in megabytes. To use this view, the Windows Server Operating System Management Pack must be installed |
| Disk Performance | A dashboard view that displays, in seconds, average disk read performance and average disk queue length. To use this view, the Windows Server Operating System Management Pack must be installed. |
| Disk Utilization | A dashboard view that displays, in seconds, the performance of disk bytes and disk reads. To use this view, the Windows Server Operating System Management Pack must be installed. |
| Memory Utilization (Page File) | A dashboard view that displays the percent usage of the paging file and memory page writes per second. To use this view, the Windows Server Operating System Management Pack must be installed. |
| Memory Utilization (Physical) | A dashboard view that displays performance data related to using physical memory. To use this view, the Windows Server Operating System Management Pack must be installed. |
| Network Adapter Utilization | A dashboard view that displays, in seconds, the bytes received through the network interface and the network interface's total bytes. To use this view, the Windows Server Operating System Management Pack must be installed. |
| Processor Performance | A dashboard view that displays performance data on processor time and processor queue length. To use this view, the Windows Server Operating System Management Pack must be installed. |
| Session Statistics | A dashboard view that displays performance data for active terminal sessions and total terminal sessions. |

Reports

Although the Monitoring pane in the Operations Console shows the state of your current environment and can display date and time ranges for the performance views, you can use the Terminal Services Management Pack with a reporting server to analyze trends across hours and days. The reporting server is an optional component that you must install separately. For more information, see the Operations Manager 2007 Deployment Guide. The following performance reports for the Terminal Services Management Pack are available with a reporting server.

	Terminal Server active and inactive connections by peak hours

	Terminal Server active and inactive connections by day

	Terminal Services total sessions by day

Key Monitoring Scenarios

The Terminal Services Management Pack monitors the availability and performance of the Terminal Servers, the Licensing Server, the Session Directory for Windows Server 2003, and, for Windows Server 2008, TS Web Access, TS Gateway, and TS Session Broker. The following table describes the key monitoring scenarios.

| Scenario | Description | Windows 2000 Server | Windows Server 2003 | Windows Server 2008 |
| --- | --- | --- | --- | --- |
| Terminal Server performance | Checks the status of the Terminal Server by using three key performance monitors, which are enabled by default: the number of active sessions, the number of inactive sessions, and the total processor time per session. When the number of active sessions approaches the performance limit of the computer's hardware, the monitor changes to a critical health state and alerts you. When a number of inactive sessions exceeds the idle session limit field of either the Terminal Services node in Group Policy or the Terminal Services configuration console, the monitor changes to a critical state and alerts you. When the total processing time per session exceeds 80 percent of the CPU's total capacity for 15 minutes, the monitor changes to a critical state and alerts you. | X | X |  |
| Session Directory health | Monitors the health of the Session Directory's Windows service. When the Windows service is not running, the monitor changes to a critical state and alerts you. | X | X |  |
| Licensing Server health | Monitors the health of the License Server's Windows service. When the Windows service is not running, the monitor changes to a critical state and alerts you. | X | X |  |
| TS Server Role Monitoring | Ensures that the Windows Service is running and tests for connectivity to the License Server and the TS Session Broker. It also monitors the number of open sessions and disconnected sessions. |  |  | X |
| TS Licensing Server Monitoring | Ensures that the TS Licensing service is running. Terminal Services Client Access Licenses (TS CALs) are installed and available on the Terminal Services license server. The Terminal Services Licensing database file is restored when there is a modification to the old database file. |  |  | X |
| TS Gateway Server Monitoring | Ensures that the Gateway Service is running and checks that it is able to connect to the Terminal Server. Monitors the number of current connections. |  |  | X |
| TS Session Broker Server Monitoring | Ensures that the Session Broker Service is running. |  |  | X |
| TS Web Access Server Monitoring | Ensures Web Access Server is running. Monitors connectivity between Terminal Server and Web Access Server. |  |  | X |

Get Information About a Monitor

By viewing a monitor's product knowledge, you can get information about a monitor and read potential solutions for the problem that it detects.

To view product knowledge for a monitor

1. In the Operations console, on the Go menu, click Authoring. 2. In the navigation pane, expand Management Pack Objects, and then click Monitors. 3. In the list of monitors, expand the target that you want until the monitor appears. Note To search for a monitor, in the Look for box, type the name of a monitor or words that its name might contain, and then click Find Now. 4. Right-click the monitor that you want, click Properties, and then click the Product Knowledge tab.

Placing Monitored Objects in Maintenance Mode

When a monitored object, such as a computer or distributed application, goes offline for maintenance, Operations Manager 2007 detects that no agent heartbeat is being received and, as a result, might generate numerous alerts and notifications. To prevent alerts and notifications, place the monitored object into maintenance mode. In maintenance mode, alerts, notifications, rules, monitors, automatic responses, state changes, and new alerts are suppressed at the agent.

Notes

	If a dependent server is in maintenance mode, alerts can still be raised from other Terminal Services roles.

	For example, if the Licensing server is put into maintenance mode and is offline, alerts can occur from other Terminal Services role servers that fail to get a license from the offline Licensing server.

For general instructions on placing a monitored object in maintenance mode, see How to Put a Monitored Object into Maintenance Mode in Operations Manager 2007 (http://go.microsoft.com/fwlink/?LinkId=108358).

Troubleshooting

The following table describes issues that can occur with the Terminal Services Management Pack and presents possible solutions. For more information about solving a problem with the management pack, see the product release notes. You can also search for the term "Terminal Services Management Pack" on the http://go.microsoft.com/fwlink/?LinkID=29499 site.

| Problem | Solution |
| --- | --- |
| The management pack discovered no objects. | Make sure your Terminal Servers are using application mode, not Remote Admin mode. Discovery of servers running Remote Admin or Remote Desktop is disabled by default. For instructions about how to set the management pack to discover servers running Remote Admin or Remote Desktop, see Enable Discovery of Remote Admin. |
| Most performance views are empty. | Install the Windows Server Operating System Management Pack. The Windows Server Operating System Management Pack is required for all the performance views except Session Statistics. You can download the Windows Server Operating System Management Pack from http://go.microsoft.com/fwlink/?LinkId=82105. |
| The management pack did not discover a Session Directory in a cluster. | Turn on the object discovery that finds a Session Directory in a cluster. For instructions, seeEnable Discovery of a Session Directory in a Cluster. |
| The management pack is not collecting much performance data. | Enable the performance-measuring rules that you want. For instructions, see Turn On Rules to Collect Performance Data. |
| The management pack does not generate an alert when a Terminal Server fails to print on a local printer. | Turn on the rule that alerts you about a failed printer redirection operation. For instructions, see Enable an Alert for a Failed Printer Redirection Operation. |
| TS Web Access servers appear as not monitored. | There are no monitors created for the TS Web Access servers, so the icon for TS Web Access will appear as an empty green circle, indicating there is no monitoring state. However, instances of TS Web Access are discovered correctly, and rules in the management pack will raise alerts concerning several issues in the management pack. These instances can be used to create custom monitors, rules, and other monitoring scenarios. |

Appendix: Monitors and Overrides for Management Packs

This section provides detailed procedures and scripts that you can use to display rules and other information about the management packs you import.

How to View Management Pack Details

For more information about a monitor and the associated override values, see the knowledge for the monitor.

To view knowledge for a monitor

1. In the Operations Console, click the Authoring button. 2. Expand Management Pack Objects, and then click Monitors. 3. In the Monitors pane, expand the targets until you reach the monitor level. Alternatively, you can use the Search box to find a particular monitor. 4. Click the monitor, and in the Monitors pane, click View knowledge. 5. Click the Product Knowledge tab.

How to Display Monitors for a Management Pack

To display a list of outputs for a management pack's monitors and overrides using the Command Shell, use the following procedure.

To display monitors for a management pack

1. In the Command Shell, type the following command: get-monitor -managementPack name.mp ¦ export-csv filename 2. A .csv file is created. The .csv file can be opened in Microsoft Office Excel. Note In Excel, you may be required to specify that the .csv file is a text file.

For example, the following command retrieves data for the monitors associated with one of the core management packs:

get-monitor -managementPack System.Health.Library.mp | export-csv "C:\monitors.csv"

How to Display Overrides for a Management Pack

To display overrides for a management pack use the following procedure.

To display overrides for a management pack

1. In the Command Shell, type the following command: get-override -managementPack name.mp ¦ export-csv filename 2. A .csv file is created. The .csv file can be opened in Excel. Note In Excel, you may be required to specify that the .csv file is a text file.

For example, this command displays the overrides for one of the core management packs:

get-override -managementPack Microsoft.SystemCenter.OperationsManager.Internal.mp | export-csv "c:\overrides.csv"

How to Display All Management Pack Rules

Use the following procedure to display a list of rules for the management packs that you imported. The list of rules can be viewed in Excel.

To display management pack rules

1. In your management server, click Programs, and then click System Center. 2. Click Command Shell. 3. In the Command Shell window, type the following command: get-rule ¦ select-object @{Name="MP";Expression={ foreach-object {$_.GetManagementPack().DisplayName }}},DisplayName ¦ sort-object -property MP ¦ export-csv "c:\rules.csv" 4. A .csv file is created. The .csv file can be opened in Excel. Note In Excel, you may be required to specify that the .csv file is a text file.

How to Display Monitor Thresholds

To display monitor thresholds, use the script described in this section. This script works for the majority of monitors. It creates a .csv file that includes the following columns and that can be viewed using Excel.

| Column | Description |
| --- | --- |
| Type | The type of objects the monitor is targeted to |
| DisplayName | The display name of the monitor |
| Threshold | The threshold used by the monitor |
| AlertOnState | Determines whether the monitor generates an alert when the state changes |
| AutoResolveAlert | Determines whether the generated alert will be automatically resolved when the monitor state goes back to green |
| AlertSeverity | The severity of the generated alert |

Run the following script to create the .csv file that displays the monitor thresholds:

function GetThreshold ([String] $configuration)

{

$config = [xml] ("<config>" + $configuration + "</config>")

$threshold = $config.Config.Threshold

if($threshold -eq $null)

{

$threshold = $config.Config.MemoryThreshold

}

if($threshold -eq $null)

{

$threshold = $config.Config.CPUPercentageThreshold

}

if($threshold -eq $null)

{

if($config.Config.Threshold1 -ne $null -and $config.Config.Threshold2 -ne $null)

{

$threshold = "first threshold is: " + $config.Config.Threshold1 + " second threshold is: " + $config.Config.Threshold2

}

}

if($threshold -eq $null)

{

if($config.Config.ThresholdWarnSec -ne $null -and $config.Config.ThresholdErrorSec -ne $null)

{

$threshold = "warning threshold is: " + $config.Config.ThresholdWarnSec + " error threshold is: " + $config.Config.ThresholdErrorSec

}

}

if($threshold -eq $null)

{

if($config.Config.LearningAndBaseliningSettings -ne $null)

{

$threshold = "no threshold (baseline monitor)"

}

}

return $threshold

}

$perfMonitors = get-monitor -Criteria:"IsUnitMonitor=1 and Category='PerformanceHealth'"

$perfMonitors | select-object @{name="Target";expression={foreach-object {(Get-MonitoringClass -Id:$_.Target.Id).DisplayName}}},DisplayName, @{name="Threshold";expression={foreach-object {GetThreshold $_.Configuration}}}, @{name="AlertOnState";expression={foreach-object {$_.AlertSettings.AlertOnState}}}, @{name="AutoResolveAlert";expression={foreach-object {$_.AlertSettings.AutoResolve}}}, @{name="AlertSeverity";expression={foreach-object {$_.AlertSettings.AlertSeverity}}} | sort Target, DisplayName | export-csv "c:\monitor_thresholds.csv"

How to Display Performance Collection Rules

To display performance collection rules, use the script in this section. This script works for the majority of monitors. It creates a .csv file that includes the following columns and that can be viewed using Excel.

| Column | Description |
| --- | --- |
| WriteAction | Contains information about where the performance counter is written |
| WriteToDB or CollectionPerformanceData | Writes to the Operations Manager database |
| WriteToDW or CollectPerfDataWarehouse | Writes to the data warehouse |
| WC | Stores baseline data for a performance counter into the operational database |

To display the performance collection rules present in the management group, run the following script:

function GetPerfCounterName ([String] $configuration)

{

$config = [xml] ("<config>" + $configuration + "</config>")

return ($config.Config.ObjectName + "\" + $config.Config.CounterName)

}

function GetFrequency ([String] $configuration)

{

$config = [xml] ("<config>" + $configuration + "</config>")

$frequency = $config.Config.Frequency;

if($frequency -eq $null)

{

$frequency = $config.Config.IntervalSeconds;

}

return ($frequency)

}

function GetDisplayName($performanceRule)

{

if($performanceRule.DisplayName -eq $null)

{

return ($performanceRule.Name);

}

else

{

return ($performanceRule.DisplayName);

}

}

function GetWriteActionNames($performanceRule)

{

$writeActions = "";

foreach($writeAction in $performanceRule.WriteActionCollection)

{

$writeActions += " " + $writeAction.Name;

}

return ($writeActions);

}

$perf_collection_rules = get-rule -criteria:"Category='PerformanceCollection'"

$perf_collection_rules | select-object @{name="Type";expression={foreach-object {(Get-MonitoringClass -id:$_.Target.Id).DisplayName}}},@{name="RuleDisplayName";expression={foreach-object {GetDisplayName $_}}} ,@{name="CounterName";expression={foreach-object {GetPerfCounterName $_.DataSourceCollection[0].Configuration}}},@{name="Frequency";expression={foreach-object {GetFrequency $_.DataSourceCollection[0].Configuration}}},@{name="WriteActions";expression={foreach-object {GetWriteActionNames $_}}}  | sort Type,RuleDisplayName,CounterName | export-csv "c:\perf_collection_rules.csv"

Appendix: Reports

The Terminal Services Management Pack is compatible with the existing Operations Manager 2007 health, performance, and availability and security reports.

In addition, the Terminal Services 2008 Management Pack provides these reports:

| Report | Description |
| --- | --- |
| Windows Terminal Services 2008 Terminal Server Configuration | Displays all configuration data on the Windows Server 2008 Terminal Server |
| Windows Terminal Services 2008 Terminal Services Gateway Configuration | Displays all configuration data on the Windows Server 2008 TS Gateway |
| Windows Terminal Services 2008 Terminal Services Licensing Configuration | Displays all configuration data on Windows Server 2008 TS Licensing usage during the specified period of time on a target license server |
| Windows Terminal Services 2008 Terminal Services Session Broker Configuration | Displays all configuration data and number of active sessions in a specified period of time on TS Session Broker |
| Windows Terminal Services 2008 Terminal Services Web Access Configuration | Displays all configuration data on the target Web Access Server |
| Security Events Report | Displays all security-related events on all four Terminal Services managed entities (TS Gateway, TS Licensing, TS Session Broker, and TS Web Access) during a specified period of time on a selected Terminal Services server |